## Figure 1
Figure 1. Annual and Cumulative Growth in U.S. Wind Power Capacity
| Annual | Cumulative
| US | US
| Wind | Wind
| Capacity | Capacity
| (GW) | (GW)
1981 | 0 | 0.01
1982 | 0.06 | 0.07
1983 | 0.17 | 0.24
1984 | 0.357 | 0.597
1985 | 0.442 | 1.039
1986 | 0.183 | 1.222
1987 | 0.134 | 1.356
1988 | 0.04 | 1.396
1989 | 0.007 | 1.403
1990 | 0.122 | 1.525
1991 | 0.05 | 1.575
1992 | 0.009 | 1.584
1993 | 0.033 | 1.617
1994 | 0.039 | 1.656
1995 | 0.041 | 1.697
1996 | 0.001 | 1.698
1997 | 0.008 | 1.706
1998 | 0.142 | 1.848
1999 | 0.663 | 2.511
2000 | 0.067 | 2.578
2001 | 1.697 | 4.275
2002 | 0.411 | 4.686
2003 | 1.667 | 6.353
2004 | 0.372 | 6.725
2005 | 2.4018 | 9.1208
2006 | 2.4536 | 11.5744
2007 | 5.2492 | 16.8237
2008 | 8.3498 | 25.161
2009 | 9.9931 | 35.1541
2010 | 5.1125 | 40.2666

## Figure 2
Figure 2. Relative Contribution of Generation Types in Annual Capacity Additions
Nameplate Capacity Additions (GW)
Generation Type | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
Gas (CCGT) | 13.209 | 20.7419 | 43.0891 | 44.2652 | 20.8265 | 12.9378 | 8.5305 | 4.6424 | 5.1241 | 7.7682 | 5.0985
Gas (non-CCGT) | 16.5482 | 22.2562 | 23.0504 | 9.7111 | 3.2905 | 3.9947 | 1.3468 | 2.9933 | 3.6337 | 2.9571 | 2.0417
Coal | 0.1305 | 0.5197 | 0.0105 | 0.088 | 0.617 | 0.4777 | 0.5966 | 1.5135 | 1.651 | 2.0206 | 5.9784
Wind | 0.066795 | 1.691 | 0.44975 | 1.6839 | 0.39457 | 2.4018 | 2.4536 | 5.2492 | 8.3498 | 9.9931 | 5.1125
Other Renewable | 0.20349 | 0.42684 | 0.42117 | 0.31869 | 0.25702 | 0.17558 | 0.36444 | 0.58898 | 0.53095 | 1.0085 | 1.279
Other non-Renewable | 1.0398 | 1.2662 | 1.6595 | 0.4046 | 0.3117 | 0.2849 | 0.2755 | 0.3028 | 0.1176 | 0.1111 | 0.792
Total | 31.1978 | 46.9019 | 68.6804 | 56.4715 | 25.6973 | 20.2725 | 13.5674 | 15.2902 | 19.4072 | 23.8586 | 20.3021
Wind % of Total | 0.2141% | 3.605% | 0.6548% | 2.982% | 1.535% | 11.85% | 18.08% | 34.33% | 43.02% | 41.88% | 25.18%

## Figure 3
Figure 3. Approximate Wind Energy Penetration in the Twenty Countries with the Greatest Installed Wind Power Capacity
| Approximate | Approximate | Approximate | Approximate | Approximate
| Wind | Wind | Wind | Wind | Wind
| Penetration | Penetration | Penetration | Penetration | Penetration
| End of 2006 | End of 2007 | End of 2008 | End of 2009 | End of 2010
Denmark | 20.4% | 20.8% | 21.4% | 23.3% | 26.2%
Portugal | 7.7% | 9.8% | 12.7% | 15.4% | 16.7%
Spain | 9.7% | 12.1% | 13.1% | 14.6% | 15.3%
Ireland | 7.8% | 8.3% | 10.2% | 11.6% | 13.8%
Germany | 6.8% | 7.4% | 8% | 8.6% | 9.1%
Greece | 3.1% | 3.5% | 3.8% | 4% | 4.8%
UK | 1.5% | 1.8% | 2.5% | 3.3% | 4.5%
Netherlands | 2.9% | 3.3% | 4.1% | 4% | 4%
Sweden | 0.9% | 1.3% | 1.6% | 2.5% | 3.5%
Italy | 1.2% | 1.5% | 2.1% | 2.7% | 3.2%
India | 1.9% | 2.3% | 2.7% | 2.8% | 3.1%
U.S. | 0.8% | 1.2% | 1.8% | 2.6% | 2.9%
France | 0.7% | 1.1% | 1.7% | 2.1% | 2.7%
Australia | 1% | 1.1% | 1.8% | 2.1% | 2.3%
Poland | 0.3% | 0.6% | 1% | 1.6% | 2.2%
China | 0.2% | 0.3% | 0.6% | 1.2% | 1.9%
Turkey | 0.1% | 0.3% | 0.7% | 1.3% | 1.8%
Canada | 0.5% | 0.6% | 0.8% | 1.2% | 1.4%
Brazil | 0.1% | 0.2% | 0.3% | 0.4% | 0.6%
Japan | 0.3% | 0.3% | 0.4% | 0.4% | 0.4%
TOTAL | 0.9% | 1.1% | 1.5% | 1.8% | 2.2%

## Figure 4
Figure 4. Location of Wind Power Development in the United States
| Cumulative MW | Incremental MW
| end of 2010 | in 2010
TX | 10089.43 | 679.7
IA | 3674.928 | 5
CA | 3252.607 | 454.5
MN | 2205.37 | 395.85
WA | 2104.38 | 196
OR | 2103.64 | 282.5
IL | 2044.56 | 498
OK | 1481.8 | 351.8
ND | 1423.63 | 221.1
WY | 1412.255 | 311.2
IN | 1339.15 | 303.2
CO | 1298.55 | 52.8
NY | 1274.3 | 0
KS | 1074 | 60.5
PA | 748.23 | 0
SD | 709.164 | 396
NM | 699.88 | 102.4
WI | 468.895 | 20
MO | 457 | 148.5
WV | 430.5 | 100.5
MT | 385.53 | 10.5
ID | 352.516 | 205.8
ME | 266.2 | 91.5
UT | 223.285 | 0
NE | 212.88 | 60
MI | 164.495 | 20.75
AZ | 128.1 | 65.1
MD | 70 | 70
HI | 63.115 | 0
TN | 28.98 | 0
NH | 25.45 | 0
MA | 17.69 | 4.2
OH | 9.625 | 2.2
AK | 8.716 | 0.9
NJ | 7.5 | 0
VT | 6 | 0
RI | 2.16 | 0
DE | 2 | 2
AR | 0.1 | 0
| 40266.611 | 5112.5

## Figure 5
Figure 5. Mid-Atlantic Wind Energy Areas Under Consideration by BOEMRE
This figure does not contain any data that are not already shown in the figure.

## Figure 6
Figure 6. Proposed Offshore Wind Power Projects in a Relatively Advanced State of Development
This figure does not contain any data that are not already shown in the figure.

## Figure 7
Figure 7. Nameplate Resource Capacity in 32 Selected Interconnection Queues
GW | Wind | Natural Gas | Solar | Nuclear | Coal | Other
Entered queue in 2010 | 54.2 | 30.2 | 26.2 | 4.4 | 0.2 | 4.6
Total in queue at end of 2010 | 257.8 | 116.2 | 51.1 | 28.3 | 16.6 | 16.8

## Figure 8
Figure 8. Wind Power Capacity in 32 Selected Interconnection Queues
| Entered Queue in 2010 | Total in Queue at end of 2010
| (GW) | (GW)
MISO / Midwest | 13.9 | 72.9
Mountain | 6.1 | 41
ERCOT | 5.2 | 37.9
PJM | 9 | 36.9
Northwest | 7.7 | 29.1
SPP | 6.3 | 16
California ISO | 2 | 11.4
New York ISO | 1.2 | 7
ISO-New England | 1.5 | 3.9
Southeast | 1.3 | 1.7
| 54.2 | 257.8

## Figure 9
Figure 9. Annual U.S. Market Share of Wind Manufacturers by MW, 2005-2010
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010
GE Wind | 1432.5 | 1146 | 2341.5 | 3585 | 3994.5 | 2543.2
Siemens | 0 | 572.7 | 862.5 | 791.2 | 1161.5 | 828
Gamesa | 50 | 74 | 494 | 616 | 600 | 564
Mitsubishi | 190 | 128 | 356 | 516.4 | 814.4 | 350.4
Suzlon | 25 | 91.55 | 196.9 | 736.1 | 702 | 311.8
Vestas | 699.81 | 439.251 | 948.35 | 1120.035 | 1488.11 | 221.1
Acciona | 0 | 0 | 0 | 409.5 | 204 | 99
Clipper | 2.5 | 0 | 47.5 | 470 | 605 | 70
REPower | 0 | 0 | 0 | 94 | 330.35 | 68.45
Nordex | 0 | 0 | 2.5 | 0 | 62.5 | 20
DeWind | 0 | 0 | 0 | 2 | 6 | 20
Other | 2.015 | 2.05 | 0 | 9.6 | 24.75 | 16.55
Note on F15: MABolinger: 6.5 NedWind 6.0 AAER 4.5 Fuhrlander 4.5 Goldwind 2.4 RRB 0.6 Elecon 0.25 Wind Energy Solutions
Note on G15: MABolinger: Samsung (7.5) Northern Power (2.3) TurboWinds (1.6) Nordic (2) EWT (1.65) PowerWind (0.9) Elecon (0.6)

## Figure 10
Figure 10. Location of Existing and New Turbine and Component Manufacturing Facilities
This figure does not contain any data that are not already shown in the figure.

## Figure 11
Figure 11. Domestic Wind Turbine Nacelle Assembly Capacity and Demand
Figure provided by Bloomberg New Energy Finance

## Figure 12
Figure 12. Number of Operating Wind Turbine and Component Manufacturing Facilities on U.S. Soil
Number of
Manufacturing Facilities
| Opened | Opened
| before 2010 | in 2010
Other | 6 | 76
Nacelle Components | 2 | 26
Towers | 1 | 21
Blades | 0 | 16
Turbines | 4 | 12

## Figure 13
Figure 13. Estimated Imports of Wind-Powered Generating Sets, Towers, and Other Wind Turbine Components, as Well as Exports of Wind-Powered Generating Sets
|  | Imports |  |  |  | Exports
|  | Billion US$2010 |  |  |  | Million US$2010
| Annual Capacity Additions (GW) | Wind-Powered Generating Sets | Towers | Other | Total Error (±) | Wind-Powered Generating Sets
2005 | 2.402 | 0.54 | 0.11 | 0.69 | 0.24 | 4
2006 | 2.454 | 1.31 | 0.25 | 0.87 | 0.28 | 90.1
2007 | 5.2489 | 2.5 | 0.58 | 1.48 | 0.45 | 14.9
2008 | 8.35 | 2.54 | 0.91 | 2.06 | 0.6 | 22.4
2009 | 9.993 | 2.32 | 0.59 | 1.33 | 0.42 | 118.9
2010 | 5.113 | 1.22 | 0.44 | 0.87 | 0.35 | 142.1

## Figure 14
Figure 14. Origins of Imports of Wind-Powered Generating Sets and Towers
Wind Powered Generating Sets
| Europe | [5 empty] | Asia |  |  | Other
| Denmark | Spain | Germany | UK | Italy | Other Europe | Japan | India | Other Asia
2005 | 68% | 9.3% | 0% | 4.8% | 1.8% | 0.4% | 13% | 2.6% | 0% | 0%
2006 | 52.2% | 13% | 4.7% | 3.3% | 0.1% | 0% | 8% | 17.9% | 0.7% | 0.1%
2007 | 40.6% | 17.8% | 8.9% | 5.5% | 0% | 0.1% | 12.9% | 10.7% | 3.6% | 0.1%
2008 | 28.2% | 26.7% | 11.9% | 5.5% | 1.3% | 3.4% | 15.1% | 7.1% | 0.6% | 0.1%
2009 | 34.5% | 13.3% | 8.9% | 5.4% | 0% | 0.6% | 25.5% | 10.7% | 0.3% | 0.8%
2010 | 57.2% | 6.8% | 4.2% | 0.1% | 7% | 0.2% | 1% | 21.3% | 1.4% | 0.7%
Towers
| Europe |  |  | Asia |  |  |  | North America |  | Other
| Denmark | Spain | Other Europe | China | Korea | Vietnam | Other Asia | Canada | Mexico
2005 | 33% | 4.5% | 0.3% | 1.8% | 10.1% | 19% | 0% | 19.5% | 11.8% | 0%
2006 | 32.6% | 22.1% | 3.7% | 4% | 7.3% | 17.4% | 1.5% | 4.3% | 7.1% | 0.1%
2007 | 22.1% | 12.1% | 3.1% | 11.4% | 13.6% | 14.6% | 5.3% | 10.4% | 7.5% | 0%
2008 | 4.6% | 8% | 0.4% | 20.3% | 22.6% | 8.3% | 13% | 16.1% | 6.6% | 0%
2009 | 2.9% | 4.7% | 2.3% | 28% | 26.3% | 11.1% | 15.2% | 2.6% | 7% | 0%
2010 | 0.2% | 2.3% | 0.2% | 20.7% | 5.9% | 10.7% | 8.9% | 30.1% | 21% | 0.1%
Note: Sum may not total 100% due to rounding

## Figure 15
Figure 15. Estimated Wind Power Equipment Imports as a Fraction of Total Turbine Cost
| 2005-2006 | 2007-2008 | 2009-2010
Total Turbine Equipment Cost | 4.58 | 15.9 | 20.15
| Sept 2004 - Aug 2006 | Sept 2006 - Aug 2008 | Sept 2008 - Aug 2010
Value of Selected Imports | 2.96 | 9 | 8.03
Estimated Import Fraction | 65% | 57% | 40%
Note: Dollar values in billion US$2010

## Figure 16
Figure 16. Average Turbine Nameplate Capacity Installed During Period
This figure does not contain any data that are not already shown in the figure.

## Figure 17
Figure 17. Average Rotor Diameter and Hub Height Installed During Period
| 1998-99 1418 turbines 1014 MW | 2000-01 1982 turbines 1,756 MW | 2002-03 1686 turbines 2,080 MW | 2004-05 1942 turbines 2,779 MW | 2006 1515 turbines 2,440 MW | 2007 3190 turbines 5,249 MW | 2008 5004 turbines 8,348 MW | 2009 5733 turbines 9,993 MW | 2010 2855 turbines 5,113 MW
Hub Height (m) | 55.7126 | 58.1809 | 66.2568 | 73.4593 | 76.1135 | 78.1616 | 78.4965 | 78.8542 | 79.7651
Rotor Diameter (m) | 47.888 | 52.8635 | 63.8601 | 72.706 | 77.7889 | 79.0393 | 79.3343 | 81.5585 | 84.2669

## Figure 18
Figure 18. Cumulative and 2010 Wind Power Capacity Categorized by Owner Type
Through Year | GW |  |  |  | Percent of Total
| IOU | POU | IPP | Community | IOU | POU | IPP | Community
1998 | 0.008755 | 0.008725 | 1.5649 | 0.00352 | 0.5521% | 0.5502% | 98.68% | 0.222%
1999 | 0.081241 | 0.024639 | 2.3506 | 0.005125 | 3.3% | 1.001% | 95.49% | 0.2082%
2000 | 0.081241 | 0.028039 | 2.4137 | 0.00535 | 3.213% | 1.109% | 95.47% | 0.2116%
2001 | 0.093361 | 0.038469 | 4.0782 | 0.009366 | 2.213% | 0.9117% | 96.65% | 0.222%
2002 | 0.093361 | 0.10422 | 4.4466 | 0.024914 | 2% | 2.232% | 95.23% | 0.5336%
2003 | 0.093361 | 0.13663 | 6.0218 | 0.09263 | 1.472% | 2.154% | 94.91% | 1.46%
2004 | 0.25386 | 0.15692 | 6.1831 | 0.12515 | 3.778% | 2.335% | 92.02% | 1.863%
2005 | 0.60326 | 0.23233 | 8.1219 | 0.16331 | 6.614% | 2.547% | 89.05% | 1.791%
2006 | 1.1919 | 0.25835 | 9.866 | 0.25826 | 10.3% | 2.232% | 85.24% | 2.231%
2007 | 1.7192 | 0.52605 | 14.2705 | 0.30795 | 10.22% | 3.127% | 84.82% | 1.83%
2008 | 3.2074 | 0.56145 | 20.9163 | 0.47584 | 12.75% | 2.231% | 83.13% | 1.891%
2009 | 4.2648 | 1.0709 | 29.1641 | 0.65434 | 12.13% | 3.046% | 82.96% | 1.861%
2010 | 4.8664 | 1.2229 | 33.4318 | 0.74549 | 12.09% | 3.037% | 83.03% | 1.851%

## Figure 19
Figure 19. Cumulative and 2010 Wind Power Capacity Categorized by Power Off-Take Arrangement
Through Year | GW |  |  |  |  | Percent of Total
| IOU | POU | Power Marketer | On-Site | Merchant/Quasi-Merchant | IOU | POU | Power Marketer | On-Site | Merchant/Quasi-Merchant
1998 | 1.5341 | 0.048625 | 0 | 0.00317 | 0 | 96.73% | 3.066% | 0% | 0.1999% | 0%
1999 | 2.362 | 0.095439 | 0.00013 | 0.004045 | 0 | 95.95% | 3.877% | 0.005281% | 0.1643% | 0%
2000 | 2.3864 | 0.11564 | 0.01053 | 0.00427 | 0.01155 | 94.38% | 4.574% | 0.4165% | 0.1689% | 0.4568%
2001 | 2.875 | 0.46287 | 0.83469 | 0.005286 | 0.04155 | 68.14% | 10.97% | 19.78% | 0.1253% | 0.9847%
2002 | 3.086 | 0.59474 | 0.94029 | 0.006534 | 0.04155 | 66.09% | 12.74% | 20.14% | 0.1399% | 0.8899%
2003 | 3.9437 | 0.80755 | 1.5443 | 0.007384 | 0.04155 | 62.16% | 12.73% | 24.34% | 0.1164% | 0.6549%
2004 | 4.2702 | 0.85389 | 1.5443 | 0.009059 | 0.04155 | 63.55% | 12.71% | 22.98% | 0.1348% | 0.6184%
2005 | 5.6394 | 1.292 | 1.8689 | 0.022044 | 0.2985 | 61.83% | 14.16% | 20.49% | 0.2417% | 3.273%
2006 | 6.7845 | 1.6287 | 2.0431 | 0.025339 | 1.0928 | 58.62% | 14.07% | 17.65% | 0.2189% | 9.442%
2007 | 9.2374 | 2.5477 | 3.095 | 0.026839 | 1.9168 | 54.91% | 15.14% | 18.4% | 0.1595% | 11.39%
2008 | 12.0614 | 4.1754 | 3.6959 | 0.063424 | 5.1649 | 47.94% | 16.59% | 14.69% | 0.2521% | 20.53%
2009 | 15.6293 | 6.5752 | 4.0636 | 0.11147 | 8.7746 | 44.46% | 18.7% | 11.56% | 0.3171% | 24.96%
2010 | 17.7258 | 8.1848 | 4.2743 | 0.12317 | 9.9585 | 44.02% | 20.33% | 10.62% | 0.3059% | 24.73%

## Figure 20
Figure 20. Cumulative Capacity-Weighted Average Wind Power Prices over Time
| Cumulative | 25% | 75%
| Price | Quartile | Quartile | Sample | Sample
| (2010 $/MWh) | (2010 $/MWh) | (2010 $/MWh) | MW | # Projects
1999 | 60.6227 | 52.2381 | 62.8098 | 593.66 | 11
2000 | 59.0212 | 51.7189 | 62.7262 | 605.54 | 12
2001 | 57.4497 | 43.3253 | 60.7318 | 746.1 | 22
2002 | 44.9216 | 40.2096 | 57.9615 | 1449.34 | 33
2003 | 38.6135 | 34.7298 | 48.3861 | 2299.57 | 47
2004 | 37.6449 | 34.2343 | 46.9716 | 3108.02 | 64
2005 | 35.8448 | 30.98 | 44.6982 | 4060.78 | 80
2006 | 36.2101 | 31.6147 | 43.939 | 4992.16 | 97
2007 | 38.0551 | 32.7929 | 44.765 | 7908.26 | 121
2008 | 41.0017 | 33.5104 | 50.7029 | 10463.66 | 151
2009 | 45.3041 | 33.3148 | 52.5231 | 13829.51 | 188
2010 | 49.318 | 34.5268 | 61.0841 | 17032.52 | 232

## Figure 21
Figure 21. 2010 Wind Power Prices by Project Commercial Operation Date
| 2010 Price | Sample | Sample
Vintage | (2010 $/MWh) | MW | # Projects
1998-99 | 34.1541 | 655.01 | 14
2000-01 | 35.8355 | 855.66 | 22
2002-03 | 31.6565 | 1648.36 | 33
2004-05 | 32.5463 | 1269.46 | 21
2006 | 49.0309 | 742.28 | 14
2007 | 45.6072 | 3013.1 | 23
2008 | 52.6044 | 2669.3 | 31
2009 | 61.9699 | 3818.55 | 48
2010 | 73.3685 | 2360.8 | 26
|  | 17032.52 | 232

## Figure 22
Figure 22. 2010 Wind Power Prices by Region: 2007-2010 Projects Only
2010
| Regional | 2007-2010 | 2007-2010
| Price | Sample | Sample
Region | (2010 $/MWh) | MW | # Projects
Texas | 32.5175 | 320.3 | 3
Heartland | 47.4636 | 4390 | 49
Mountain | 52.0749 | 1963.1 | 17
Great Lakes | 61.9422 | 2153.2 | 15
New England | 62.3307 | 41.25 | 3
East | 68.5329 | 562.4 | 9
Northwest | 70.6342 | 1798.5 | 26
California | 102.9183 | 633 | 6
|  | 11861.75 | 128

## Figure 23
Figure 23. Map of Regions and Wholesale Electricity Price Hubs Used in Analysis
This figure does not contain any data that are not already shown in the figure.

## Figure 24
Figure 24. Average Cumulative Wind and Wholesale Electricity Prices over Time
| Wholesale | Wholesale | Cumulative | Wind | Wind
| Power Price | Power Price | Wind | 25% | 75%
| Min | Max | Price | Quartile | Quartile
| (2010 $/MWh) | (2010 $/MWh) | (2010 $/MWh) | (2010 $/MWh) | (2010 $/MWh)
2003 | 30.2919 | 60.5133 | 38.6135 | 34.7298 | 48.3861
2004 | 33.4111 | 59.2924 | 37.6449 | 34.2343 | 46.9716
2005 | 50.0337 | 85.6448 | 35.8448 | 30.98 | 44.6982
2006 | 40.7363 | 67.4264 | 36.2101 | 31.6147 | 43.939
2007 | 45.2196 | 75.2301 | 38.0551 | 32.7929 | 44.765
2008 | 47.0587 | 88.3448 | 41.0017 | 33.5104 | 50.7029
2009 | 24.3682 | 43.4226 | 45.3041 | 33.3148 | 52.5231
2010 | 26.2809 | 51.1573 | 49.318 | 34.5268 | 61.0841

## Figure 25
Figure 25. Wind and Wholesale Electricity Prices by Region: 2007-2010 Projects Only
| 2010 | 2010 | 2010
| Wholesale | Wholesale | Wind
Region | Min | Max | Avg
Name | 2010 $/MWh | 2010 $/MWh | 2010 $/MWh
Texas | 30.8505 | 32.3505 | 32.5175
Heartland | 26.2809 | 31.4168 | 47.4636
Mountain | 33.961 | 35.4351 | 52.0749
Great Lakes | 32.6652 | 34.8872 | 61.9422
Northwest | 34.8915 | 36.0905 | 62.3307
New England | 46.6948 | 48.8897 | 68.5329
California | 31.3921 | 46.5881 | 70.6342
East | 39.219 | 51.1573 | 102.9183
Total US | 26.2809 | 51.1573 | 57.9745

## Figure 26
Figure 26. 2010 Wind Power Price as a Function of Installed Project Costs
The data for Figure 26 are not provided because some of the data points are confidential.

## Figure 27
Figure 27. 2010 Wind Power Price as a Function of 2010 Capacity Factor
The data for Figure 27 are not provided because some of the data points are confidential.

## Figure 28
Figure 28. Installed Wind Power Project Costs over Time (including preliminary sample of 2011 project costs)
Capacity-
Weighted
Average
2010 $/kW
1982
1983
1984 | 4715.1543
1985 | 3554.5992
1986
1987 | 2003.8137
1988
1989 | 2493.617
1990 | 2826.3205
1991
1992
1993
1994 | 1766.5995
1995 | 1812.6467
1996 | 1470.278
1997 | 2399.3239
1998 | 1353.9144
1999 | 1593.2697
2000 | 1603.2101
2001 | 1258.8692
2002 | 1471.3079
2003 | 1334.3165
2004 | 1229.7658
2005 | 1438.3586
2006 | 1603.0218
2007 | 1759.7364
2008 | 1962.4389
2009 | 2144.1618
2010 | 2155.041
2011 | 2023.6316
Note on A36: MABolinger: The 2011 number is preliminary.

## Figure 29
Figure 29. Installed Wind Power Project Costs by Project Size: 2009-2010 Projects
| 2009-2010 | 2009-2010 | 2009-2010
Project | Sample | Sample | Average Cost
Size | Projects | MW | 2010 $/kW
≤5 MW | 31 | 54.4 | 2555.9266
5-20 MW | 21 | 256.55 | 2166.6655
20-50 MW | 19 | 750.1 | 2102.1771
50-100 MW | 45 | 3571.4 | 2099.9102
100-200 MW | 53 | 6988.61 | 2179.1897
>200 MW | 13 | 3070.4 | 2134.832
Total | 182 | 14691.46

## Figure 30
Figure 30. Installed Wind Power Project Costs by Turbine Size: 2009-2010 Projects
| 2009-2010 | 2009-2010 | 2009-2010
Turbine | Sample | Sample | Average Cost
Size | Projects | MW | 2010 $/kW
<1 MW | 10 | 13.35 | 2269.2265
1-1.75 MW | 98 | 7504.66 | 2168.3627
1.75-2.5 MW | 61 | 6223.7 | 2126.8329
≥2.5 MW | 12 | 949.5 | 2121.916
Total | 181 | 14691.21

## Figure 31
Figure 31. Installed Wind Power Project Costs by Region: 2009-2010 Projects
| 2009-2010 | 2009-2010 | 2009-2010
| Sample | Sample | Average Cost
| MW | Projects | 2010 $/kW
Texas | 2964.26 | 25 | 2007.5526
Mountain | 1428 | 15 | 2096.1599
Great Lakes | 2249.95 | 23 | 2096.6159
Heartland | 3803.45 | 51 | 2106.8129
Northwest | 2165.35 | 29 | 2261.3644
East | 1127.5 | 13 | 2269.7808
New England | 232.45 | 16 | 2389.6611
California | 720.5 | 10 | 2531.1131
Total US | 14691.46 | 182 | 2147.8912

## Figure 32
Figure 32. Reported U.S. Wind Turbine Transaction Prices over Time
2010 $/kW
Order Size: | <100 MW | 100-300 MW | >300 MW
1997-02-01 | 1607
1997-12-01 | 1252
1998-01-01 | 1226
1998-05-01 | 1035
1998-05-01 | 1184
1998-08-01 | 968
1998-08-01 | 968
1998-11-01 | 1202
1998-11-01 |  | 1076
2000-07-01 |  |  | 594
2000-12-01 |  | 826
2001-03-01 | 958
2001-04-01 |  | 613
2002-02-01 | 800
2002-04-01 |  |  | 607
2002-05-01 | 726
2002-06-01 |  |  | 814
2002-08-01 | 727
2002-12-01 |  | 823
2003-05-01 | 989
2003-06-01 |  | 955
2003-07-01 | 1018
2004-12-01 |  |  | 977
2004-08-01 | 1023
2005-03-01 | 1118
2005-05-01 | 1299
2005-11-01 |  |  | 1274
2006-01-01 |  | 1304
2006-05-01 |  | 1289
2006-06-01 |  |  | 1176
2006-07-01 |  | 1214
2006-07-01 |  |  | 1158
2006-09-01 |  | 1124
2006-09-01 | 1545
2007-03-01 |  |  | 1272
2007-03-01 |  |  | 1341
2007-03-01 | 1135
2007-04-01 | 1161
2007-05-01 |  |  | 1009
2007-06-01 |  | 1384
2007-06-01 |  | 1538
2007-06-01 |  |  | 1300
2007-06-01 |  |  | 1153
2007-07-01 | 1523
2007-08-01 | 1959
2007-09-01 |  | 1365
2007-09-01 |  | 1382
2007-10-01 |  | 1447
2007-10-01 |  |  | 1508
2007-11-01 |  | 1518
2007-12-01 |  |  | 1345
2008-01-01 | 1701
2008-01-01 |  |  | 1290
2008-02-01 |  |  | 1444
2008-03-01 |  |  | 1370
2008-04-01 |  |  | 1808
2008-04-01 | 2049
2008-06-01 |  |  | 1666
2008-08-01 | 1552
2008-11-01 |  |  | 1123
2008-12-01 | 1710
2009-02-01 | 1213
2009-04-09 | 1082
2009-05-01 | 1312
2009-06-01 | 1442
2009-07-01 | 1590
2009-07-01 | 1653
2009-08-01 |  | 1345
2009-09-01 | 1651
2009-10-01 |  | 1566
2009-12-01 |  |  | 1612
2010-01-01 | 1965
2010-01-01 | 1507
2010-03-01 | 1507
2010-06-01 | 1188
2010-07-01 | 1498
2010-07-01 |  |  | 1397
2010-07-01 | 1531
2010-08-01 |  | 1336
2010-10-01 | 1232
2011-02-01 | 1218

## Figure 33
Figure 33. Average Cumulative Sample-Wide Capacity Factor by Calendar Year
| Capacity | Capacity
| Factor | Factor
| (based on actual | (based on estimated
| generation, with | generation, if no
| curtailment) | curtailment)
1999 | 25.31% | 25.31%
2000 | 26.52% | 26.52%
2001 | 29% | 29%
2002 | 29.38% | 29.38%
2003 | 27.98% | 27.98%
2004 | 29.4% | 29.4%
2005 | 28.92% | 28.92%
2006 | 31.3% | 31.3%
2007 | 31.92% | 32.04%
2008 | 33.74% | 34.88%
2009 | 29.45% | 31.41%
2010 | 30.45% | 31.51%

## Figure 34
Figure 34. 2010 Project Capacity Factors by Commercial Operation Date
Capacity-
Weighted
Average
Project | Sample | Sample | Capacity
Vintage | MW | Projects | Factor
Pre-1998 | 647.3 | 9 | 20.86%
1998-99 | 779.87 | 22 | 26.66%
2000-01 | 1552.65 | 25 | 26.81%
2002-03 | 1905.97 | 35 | 30.62%
2004-05 | 3414.26 | 31 | 32.61%
2006 | 1591.0219 | 19 | 31.61%
2007 | 4718.4195 | 34 | 32.65%
2008 | 8408.95 | 76 | 30.64%
2009 | 8967.3856 | 87 | 29.69%
Total | 31985.827 | 338

## Figure 35
Figure 35. 2010 Project Capacity Factors by Region: 2007-2009 Projects Only
| 2007-2009 | 2007-2009 | Regional
| Capacity | Project | Capacity
| Sample | Sample | Factor
East | 1736.7 | 21 | 25.24%
Northwest | 2392.7195 | 28 | 27.23%
New England | 214.6356 | 7 | 28.17%
Great Lakes | 2871.15 | 20 | 29.44%
Texas | 6233.7 | 37 | 31.26%
Mountain | 2129.8 | 19 | 31.47%
California | 339 | 4 | 33%
Heartland | 6177.05 | 61 | 33.23%
Total US | 22094.7551 | 197 | 30.68%

## Figure 36
Figure 36. Average O&M Costs for Available Data Years from 2000-2010, by Commercial Operation Date
The data for Figure 36 are not provided because some of the data points are confidential.

## Figure 37
Figure 37. Median Annual O&M Costs by Project Age and Commercial Operation Date
Commercial Operation Date | Number of Years Since Commercial Operation Date
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
1998-2003 | 11.8862 | 11.7597 | 10.9866 | 14.1117 | 16.6035 | 19.4678 | 21.6215 | 17.7342 | 19.7317 | 19.0624
2004-2009 | 7.5613 | 6.9071 | 10.4571 | 10.7538 | 12.6616

## Figure 38
Figure 38. State RPS Policies and Non-Binding Renewable Energy Goals (as of May 2011)
This figure does not contain any data that are not already shown on the map.

## Figure 39
Figure 39. Integration Costs at Various Levels of Wind Power Capacity Penetration
Study | Wind Penetration (Capacity Basis) | Integration Cost ($/MWh)
APS (2007) | 1.5% | 0.91
APS (2007) | 5.9% | 3.25
APS (2007) | 10.4% | 3.57
APS (2007) | 14.8% | 4.08
Avista (2007) | 5% | 2.75
Avista (2007) | 10% | 6.99
Avista (2007) | 20% | 6.65
Avista (2007) | 30% | 8.84
BPA (2009) | 35.65% | 5.7004
CA RPS (2009) | 4% | 0.45333
EWITS (2010) | 31.74% | 5.13
EWITS (2010) | 32.06% | 4.6234
EWITS (2010) | 32.67% | 3.1
EWITS (2010) | 47.93% | 4.54
Idaho Power (2007) | 10% | 5.72
Idaho Power (2007) | 20% | 9.15
Idaho Power (2007) | 30% | 9.35
MN-MISO (2006) | 18.57% | 2.969
MN-MISO (2006) | 24.73% | 4.121
MN-MISO (2006) | 30.7% | 4.407
Nebraska (2010) - Shaped Proxy | 16.68% | 1.39
Nebraska (2010) - Shaped Proxy | 33.22% | 1.45
Nebraska (2010) - Shaped Proxy | 33.22% | 1.52
Nebraska (2010) - Shaped Proxy | 63.12% | 1.75
Nebraska (2010) - Daily Flat Block | 16.68% | 3.21
Nebraska (2010) - Daily Flat Block | 33.22% | 4.29
Pacificorp (2005) | 11.21% | 4.64
Pacificorp (2007) | 18.2% | 5.1
Pacificorp (2010) | 12.67% | 8.85
Pacificorp (2010) | 16.92% | 9.71
Puget Sound Energy (2007) | 3.992% | 5.866
Puget Sound Energy (2007) | 6.942% | 6.284
Puget Sound Energy (2007) | 12.15% | 6.935
We Energies (2003) | 3.549% | 1.9
We Energies (2003) | 7.097% | 2.47
We Energies (2003) | 14.19% | 2.83
We Energies (2003) | 28.39% | 2.92
Xcel-MNDOC (2004) | 15% | 4.6
Xcel-PSCo (2006) | 10% | 3.51
Xcel-PSCo (2006) | 15% | 4.77
Xcel-PSCo (2008) | 20% | 8.56
Xcel-PSCo (2008) - 2006 Gas Prices | 20% | 5.13
Xcel-UWIG (2003) | 3.5% | 1.85

## Figure 40
Figure 40. Incremental Balancing Reserves at Various Levels of Wind Power Capacity Penetration
Study | Wind Penetration (Capacity Basis) | Increase in Balancing Reserves (Incremental Reserve MW / Incremental Wind MW) | Scheduling Period
APS (2007) | 1.5% | 1.4% | >15 min
APS (2007) | 5.9% | 12.98% | >15 min
APS (2007) | 10.4% | 14.96% | >15 min
APS (2007) | 14.8% | 14.28% | >15 min
Avista (2007) | 5% | 3.4% | >15 min
Avista (2007) | 10% | 7.3% | >15 min
Avista (2007) | 20% | 9.675% | >15 min
Avista (2007) | 30% | 11.45% | >15 min
BPA (2009) | 35.65% | 17.82% | >15 min
CA IAP (2007) | 15% | 0.2869% | <15min
CAISO (2007) | 10.69% | 12.2% | <15min
CAISO (2010) | 17.09% | 5.609% | <15min
ERCOT (2008) | 23% | 0.36% | <15min
EWITS (2010) | 31.74% | 6.538% | <15 min
EWITS (2010) | 32.06% | 6.642% | <15 min
EWITS (2010) | 32.67% | 6.228% | <15 min
EWITS (2010) | 47.93% | 6.604% | <15 min
Idaho Power (2007) | 10% | 8.333% | >15 min
Idaho Power (2007) | 20% | 9.083% | >15 min
Idaho Power (2007) | 30% | 10.06% | >15 min
ISO-NE (2010) | 3.619% | 1.754% | <15min
ISO-NE (2010) | 13.24% | 5.276% | <15min
ISO-NE (2010) | 21.59% | 5.147% | <15min
MN-MISO (2006) | 18.57% | 5.231% | >15 min
MN-MISO (2006) | 24.73% | 6.242% | >15 min
MN-MISO (2006) | 30.7% | 7.56% | >15 min
Nebraska (2010) | 13.93% | 11.5% | <15 min
Nebraska (2010) | 27.99% | 10.21% | <15 min
Nebraska (2010) | 55.96% | 10.03% | <15 min
New York (2005) | 10% | 1.091% | <15min
NYISO (2010) | 10.07% | 4.494% | <15min
NYISO (2010) | 25.4% | 3.346% | <15min
Oahu (2011) | 50% | 14% | <15min
PacifiCorp (2007) | 18.2% | 2.15% | >15 min
PacifiCorp (2010) | 3.924% | 7.765% | >15 min
PacifiCorp (2010) | 12.67% | 16.91% | >15 min
PacifiCorp (2010) | 16.92% | 16.86% | >15 min
SPP (2010) | 13.68% | 0.6561% | <15min
SPP (2010) | 27.35% | 0.8799% | <15min
SPP (2010) | 50.01% | 1.157% | <15min
We Energies (2003) | 3.549% | 1.452% | >15min
We Energies (2003) | 7.097% | 2.796% | >15min
We Energies (2003) | 14.19% | 4.948% | >15min
We Energies (2003) | 28.39% | 7.47% | >15min
WWSIS (2010) | 46.07% | 2.478% | <15min
Xcel-MNDOC (2004) | 15% | 0.52% | >15min
Xcel-PSCo (2006) | 5% | 0.2119% | >15 min
Xcel-PSCo (2006) | 10% | 0.2271% | >15 min
Xcel-UWIG (2003) | 3.5% | 0% | >15min

## Figure 41
Figure 41. Wind Power Capacity Growth: 20% Wind Report, Actual Installations, Projected Growth
| 20% | 20% | Actual
| Deployment | Deployment | Deployment
| Path | Path
| Annual GW | Cumulative GW | Annual GW
2006 | 1.29 | 11.4523 | 2.4536
2007 | 3.2624 | 14.7147 | 5.2492
2008 | 3.2624 | 17.9771 | 8.3498
2009 | 4.1798 | 22.1569 | 9.9931
2010 | 4.1798 | 26.3367 | 5.1125
2011 | 6.3496 | 32.6863
2012 | 6.3496 | 39.0358
2013 | 9.6326 | 48.6684
2014 | 9.6326 | 58.301
2015 | 13.4312 | 71.7322
2016 | 13.4312 | 85.1635
2017 | 16.1394 | 101.3029
2018 | 16.1394 | 117.4423
2019 | 16.1188 | 133.5611
2020 | 16.1188 | 149.6799
2021 | 16.7741 | 166.454
2022 | 16.7741 | 183.2282
2023 | 16.0978 | 199.326
2024 | 16.0978 | 215.4238
2025 | 16.2016 | 231.6254
2026 | 16.2016 | 247.8269
2027 | 15.4637 | 263.2906
2028 | 15.4637 | 278.7543
2029 | 13.023 | 291.7773
2030 | 13.023 | 304.8002