## Introduction
Purpose, Scope, and Data
Covers grid-connected, distributed photovoltaic (PV) systems installed through 2020. “Distributed” PV consists of residential and non-residential systems that are roof-mounted (of any size) or are ground-mounted up to 5 MWAC. Ground-mounted projects >5 MWAC are covered in Berkeley Lab’s Utility-Scale Solar annual report.
Outline of Data File
• Sample description
• Distributed PV System Characteristics (based on the Full Sample)
• Temporal Trends in Installed Prices (based on Installed-Price Sample)
• Variation in Installed Prices (based on Installed-Price Sample)
Acknowledgments
This work was funded by the Solar Energy Technologies Office, Office of Energy Efficiency and Renewable Energy of the U.S. Department of Energy under Contract No. DE-AC02-05CH11231. The authors are solely responsible for any omissions or errors contained herein.
Disclaimer
This document was prepared as an account of work sponsored by the United States Government. While this document is believed to contain correct information, neither the United States Government nor any agency thereof, nor The Regents of the University of California, nor any of their employees, makes any warranty, express or implied, or assumes any legal responsibility for the accuracy, completeness, or usefulness of any information, apparatus, product, or process disclosed, or represents that its use would not infringe privately owned rights. Reference herein to any specific commercial product, process, or service by its trade name, trademark, manufacturer, or otherwise, does not necessarily constitute or imply its endorsement, recommendation, or favoring by the United States Government or any agency thereof, or The Regents of the University of California. The views and opinions of authors expressed herein do not necessarily state or reflect those of the United States Government or any agency thereof, or The Regents of the University of California.
Ernest Orlando Lawrence Berkeley National Laboratory is an equal opportunity employer.
Copyright Notice
This manuscript has been authored by an author at Lawrence Berkeley National Laboratory under Contract No. DE-AC02-05CH11231 with the U.S. Department of Energy. The U.S. Government retains, and the publisher, by accepting the article for publication, acknowledges, that the U.S. Government retains a non-exclusive, paid-up, irrevocable, worldwide license to publish or reproduce the published form of this manuscript, or allow others to do so, for U.S. Government purposes.

## Sample Size
Comparison of the Data Sample to the Total U.S. Distributed PV Market
Year | Total U.S. Market* |  |  | Full Sample |  |  |  | Installed-Price Sample |  |  |  | x-axis labels
| Residential | Non-Residential | Total | Residential | Small Non-Residential | Large Non-Residential | Total | Residential | Small Non-Residential | Large Non-Residential | Total
1998 | 228.8256 | 12.1744 | 241 | 23 | 1 | 0 | 24 | 0 | 0 | 0 | 0
1999 | 616.2151 | 32.7849 | 649 | 185 | 9 | 0 | 194 | 73 | 1 | 0 | 74
2000 | 737.749 | 39.251 | 777 | 195 | 11 | 0 | 206 | 105 | 8 | 0 | 113 | 2000
2001 | 1748 | 93 | 1841 | 1164 | 38 | 4 | 1206 | 742 | 19 | 0 | 761
2002 | 3183 | 269 | 3452 | 2199 | 170 | 25 | 2394 | 1478 | 73 | 4 | 1555
2003 | 4085 | 498 | 4583 | 2903 | 256 | 28 | 3187 | 2205 | 161 | 13 | 2379
2004 | 5980 | 870 | 6850 | 5121 | 439 | 39 | 5599 | 4012 | 294 | 30 | 4336
2005 | 6652 | 1062 | 7714 | 5226 | 454 | 74 | 5754 | 4187 | 272 | 54 | 4513 | 2005
2006 | 8445 | 1128 | 9573 | 8651 | 535 | 105 | 9291 | 7066 | 355 | 78 | 7499
2007 | 13132 | 1463 | 14595 | 13132 | 791 | 168 | 14091 | 11056 | 547 | 118 | 11721
2008 | 17008 | 1943 | 18951 | 15236 | 1449 | 373 | 17058 | 11910 | 1080 | 153 | 13143
2009 | 29418 | 2275 | 31693 | 27752 | 1981 | 371 | 30104 | 20725 | 1569 | 202 | 22496
2010 | 47088 | 4439 | 51527 | 40152 | 3381 | 698 | 44231 | 28330 | 2649 | 393 | 31372 | 2010
2011 | 51919 | 7091 | 59010 | 51555 | 4880 | 1559 | 57994 | 28803 | 3253 | 736 | 32792
2012 | 80771 | 8201 | 88972 | 70230 | 4880 | 1687 | 76797 | 25789 | 3170 | 763 | 29722
2013 | 131275 | 8319 | 139594 | 108169 | 3371 | 1406 | 112946 | 30309 | 1924 | 535 | 32768
2014 | 189043 | 8287 | 197330 | 161191 | 3197 | 1356 | 165744 | 36252 | 1668 | 614 | 38534
2015 | 308832 | 7868 | 316700 | 265053 | 4485 | 1475 | 271013 | 84319 | 2354 | 631 | 87304 | 2015
2016 | 364758 | 10521 | 375279 | 295671 | 5406 | 2183 | 303260 | 133327 | 3370 | 1199 | 137896
2017 | 297518 | 9664.0429 | 307182.0429 | 231215 | 4499 | 2556 | 238270 | 122504 | 3340 | 1372 | 127216
2018 | 316475 | 10535 | 327010 | 245967 | 4602 | 2346 | 252915 | 136834 | 3324 | 1248 | 141406
2019 | 369579 | 10318 | 379897 | 271923 | 4700 | 2075 | 278698 | 145428 | 3177 | 1073 | 149678
2020 | 402242.3 | 10557 | 412799.3 | 268400 | 4411 | 2079 | 274890 | 144879 | 2760 | 1006 | 148645 | 2020
Total | 2650734.0898 | 105485.2531 | 2756219.3429 | 2091313 | 53946 | 20607 | 2165866 | 980333 | 35368 | 10222 | 1025923
*Total U.S. distributed PV installations are based on data from Interstate Renewable Energy Council (IREC) for all years through 2010 and from Wood Mackenzie and SEIA's annual year-in-review Solar Market Insight report for each year thereafter.

## State Samples
Residential | [6 empty] | Non-Residential
State | 2020 Installations |  |  | Cumulative Installations |  |  | State | 2020 Installations |  |  | Cumulative Installations
| U.S. Market | Full Sample | Installed-Price Sample | U.S. Market | Full Sample | Installed-Price Sample |  | U.S. Market | Full Sample | Installed-Price Sample | U.S. Market | Full Sample | Installed-Price Sample
CA | 152588 | 147615 | 79976 | 1219478 | 1183817 | 555765 | CA | 3423 | 3040 | 2061 | 35350 | 30224 | 17277
AZ | 22979 | 22845 | 11003 | 172925 | 179750 | 53129 | NJ | 512 | 403 | 209 | 8345 | 6944 | 4048
NY | 13054 | 8531 | 5860 | 134286 | 101193 | 51247 | NY | 592 | 442 | 350 | 6732 | 6558 | 5079
NJ | 14947.8 | 12330 | 5027 | 125349.8 | 127071 | 32782 | MA | 163 | 208 | 88 | 4713 | 5376 | 3954
MA | 10576 | 9924 | 3801 | 107489 | 106346 | 46880 | HI | 310 | 0 | 0 | 4317 | 0 | 0
TX | 34903 | 5625 | 5586 | 101565 | 32975 | 32605 | MO | 123 | 0 | 0 | 3677 | 0 | 0
HI | 6050 | 0 | 0 | 87288 | 0 | 0 | AZ | 319 | 310 | 147 | 3487 | 3458 | 1300
FL | 27510 | 1385 | 1315 | 78615 | 5000 | 4769 | PA | 143 | 0 | 0 | 3108 | 959 | 951
CO | 12221 | 8125 | 5894 | 74588 | 60592 | 33225 | CO | 244 | 134 | 90 | 3092 | 2518 | 1731
MD | 5062 | 2419 | 2414 | 71476 | 13152 | 12664 | MN | 304 | 140 | 130 | 2447 | 1032 | 892
insert above | [6 empty] | insert above
Others | 102351.5 | 49601 | 24003 | 474226.5 | 281417 | 157267 | Others | 4424 | 1813 | 691 | 29542.0429 | 17484 | 10358
US | 402242.3 | 268400 | 144879 | 2647286.3 | 2091313 | 980333 | US | 10557 | 6490 | 3766 | 104810.0429 | 74553 | 45590

## System Size Trends
System Size Trends over Time
Year | Residential |  |  |  | Non-Residential |  |  |  | x-axis labels |  | Residential
1998 | Median | 20th Percentile | 80th Percentile | Percentile Band | Median | 20th Percentile | 80th Percentile | Percentile Band | Res. | Non-Res.
1998 | 4.1811 | 1.3554 | 4.433 | 3.0776 | - | - | - | -
1999 | 4 | 1.5 | 5.2775 | 3.7775 | - | - | - | -
2000 | 2.4 | 0.96341 | 4.6038 | 3.6404 | - | - | - | - | 2000
2001 | 2.6688 | 1.8606 | 4.433 | 2.5724 | 5.3738 | 2.3656 | 32.251 | 29.8854 |  | 2001
2002 | 2.97 | 2.0846 | 5.6011 | 3.5166 | 10.8452 | 2.8768 | 52.8868 | 50.0101
2003 | 3.006 | 2.4 | 6 | 3.6 | 11.64 | 3 | 51.3135 | 48.3135
2004 | 3.08 | 2.24 | 6 | 3.76 | 10.5765 | 2.961 | 44.635 | 41.674
2005 | 3.96 | 2.5 | 7.014 | 4.514 | 11.5275 | 3.6741 | 56.7989 | 53.1248
2006 | 4.18 | 2.72 | 7 | 4.28 | 10.825 | 3.6 | 66.648 | 63.048
2007 | 4.2 | 2.52 | 6.88 | 4.36 | 10.8 | 4.5255 | 73.644 | 69.1185
2008 | 4.2 | 2.46 | 6.8 | 4.34 | 14.565 | 4.618 | 101.23 | 96.612
2009 | 4.725 | 2.8 | 7.35 | 4.55 | 16.4859 | 5.738 | 62.1 | 56.362
2010 | 5.088 | 3.01 | 8.1 | 5.09 | 21.84 | 7.9351 | 80.068 | 72.1329
2011 | 5.06 | 3.04 | 8.1 | 5.06 | 30.8 | 9.856 | 115.92 | 106.064
2012 | 5.28 | 3.12 | 8 | 4.88 | 31.2 | 8.82 | 149.784 | 140.964 |  |  | Non-Residential
2013 | 5.52 | 3.5 | 8.16 | 4.66 | 39.78 | 10 | 202.001 | 192.001
2014 | 5.76 | 3.825 | 8.415 | 4.59 | 37.995 | 10 | 189.486 | 179.486
2015 | 6 | 4 | 8.82 | 4.82 | 28.08 | 7.725 | 136.14 | 128.415
2016 | 6.1558 | 4.03 | 9.1 | 5.07 | 29.5152 | 7.564 | 176.7105 | 169.1464
2017 | 6.27 | 4.13 | 9.3 | 5.17 | 48.96 | 13.68 | 249.8475 | 236.1675
2018 | 6.38 | 4.13 | 9.6 | 5.47 | 47.005 | 14.2 | 207.936 | 193.736
2019 | 6.4449 | 4.16 | 9.6 | 5.44 | 40.04 | 11.52 | 189.486 | 177.966
2020 | 6.48 | 4.1 | 9.75 | 5.65 | 42.245 | 12.935 | 199.96 | 187.025 | 2020 | 2020

## Size by State
System Size by State (2020 Installs)
State | Residential |  |  |  | Non-Residential |  |  |  | Residential
| Sample Size | Median | Lower Band | Upper Band | Sample Size | Median | Lower Band | Upper Band
AR | 0 | n/a | n/a | n/a | 0 | n/a | n/a | n/a
AZ | 22845 | 8.25 | 2.49 | 3.15 | 310 | 51.29 | 37.01 | 183.9
CA | 147615 | 5.67 | 1.95 | 2.97 | 3040 | 40.783 | 28.583 | 131.7056
CO | 8125 | 5.44 | 1.78 | 2.435 | 134 | 40.38 | 26.899 | 50.907
CT | 8464 | 7.83 | 2.71 | 3.51 | 137 | 115.2 | 63 | 155.448
DC | 1595 | 7.14 | 2.04 | 2.625 | 125 | 68.4 | 37.4225 | 65.4625
DE | 166 | 8.125 | 2.275 | 3.713 | 6 | n/a | n/a | n/a
FL | 1385 | 9.6 | 2.88 | 2.1 | 25 | 38.48 | 22.305 | 92.0675
IL | 5572 | 8 | 2.42 | 3.2 | 608 | 27.045 | 15.0135 | 226.611
MA | 9924 | 8.125 | 2.685 | 3.537 | 208 | 15.4175 | 8.597 | 555.6805
MD | 2419 | 9.1 | 2.7 | 3.61 | 50 | 19.6025 | 4.6425 | 60.5975
ME | 0 | n/a | n/a | n/a | 0 | n/a | n/a | n/a
MN | 1168 | 7.7 | 2.7355 | 3.349 | 140 | 39.655 | 16.845 | 32.565
NC | 4385 | 7.04 | 2.24 | 2.88 | 114 | 53.1 | 42.094 | 6242.7999
NH | 843 | 8.32 | 2.32 | 3.08 | 66 | 59.0375 | 31.4735 | 62.2165 | Non-Residential
NJ | 12330 | 8.16 | 2.72 | 3.74 | 403 | 79.92 | 60.86 | 288.732
NM | 5155 | 5.58 | 1.95 | 2.82 | 87 | 23.76 | 15.693 | 54.048
NV | 13223 | 7.04 | 2.08 | 3.19 | 44 | 27.36 | 18.654 | 61.326
NY | 8531 | 6.72 | 2.31 | 3.42 | 442 | 57.82 | 41.903 | 674.825
OH | 46 | 10.59 | 3.04 | 5.041 | 27 | 72.29 | 37.112 | 742.813
OR | 1647 | 7.32 | 2.36 | 3.122 | 169 | 24.49 | 13.858 | 39.164
PA | 0 | n/a | n/a | n/a | 0 | n/a | n/a | n/a
RI | 1676 | 6.4 | 1.9274 | 3.2043 | 88 | 82.41 | 60.791 | 404.39
TX | 5625 | 7.44 | 2.085 | 2.79 | 84 | 19.7575 | 9.6775 | 70.4045
UT | 3008 | 6.7305 | 2.0055 | 2.8795 | 40 | 34.88 | 25.28 | 45.13
VT | 0 | n/a | n/a | n/a | 0 | n/a | n/a | n/a
WA | 1465 | 9 | 3.24 | 4.44 | 53 | 27.2 | 16.95 | 26.248
WI | 1188 | 6.055 | 2.095 | 2.645 | 90 | 25.53 | 15.87 | 100.98

## Efficiency Trends
Module Efficiency Trends over Time
Year | Residential |  | Small Non-Residential |  | Large Non-Residential |  | x-axis labels
1998 | Median Module Efficiency | Mono-Crystalline Share | Median Module Efficiency | Mono-Crystalline Share | Median Module Efficiency | Mono-Crystalline Share | Res. | Small Non-Res | Large Non-Res
2002 | 13.44% | 32.51% | 18.09% | 55.56% | - | - | 2002
2003 | 13.44% | 18.3% | 13.49% | 39.86% | - | -
2004 | 13.27% | 17.68% | 13.45% | 33.08% | 13.84% | 68.18% |  | 2004
2005 | 13.45% | 31.08% | 13.45% | 34.62% | 15.34% | 55.56%
2006 | 13.48% | 34.82% | 13.45% | 36.9% | 13.78% | 43.1% |  |  | 2006
2007 | 13.89% | 46.67% | 13.45% | 39.56% | 13.5% | 42.65%
2008 | 14.11% | 48.19% | 13.45% | 40.86% | 13.63% | 41.31%
2009 | 14.1% | 49.48% | 13.71% | 41.57% | 13.71% | 41.67%
2010 | 14.14% | 54.08% | 14.14% | 41.67% | 14.08% | 27.15%
2011 | 14.48% | 52.08% | 14.3% | 38.58% | 14.24% | 29.36%
2012 | 14.91% | 50.07% | 14.75% | 43.8% | 14.52% | 31.42%
2013 | 15.44% | 36.82% | 15.37% | 37.08% | 15.2% | 30.83%
2014 | 16.14% | 42.25% | 15.75% | 41.53% | 15.52% | 27.06%
2015 | 16.38% | 38.54% | 16.26% | 47.32% | 16.04% | 34.47%
2016 | 16.71% | 38.29% | 16.38% | 41.97% | 16.52% | 38.17%
2017 | 17.59% | 66.53% | 17.14% | 57% | 17.09% | 49.98%
2018 | 18.63% | 81.48% | 17.89% | 66.84% | 17.52% | 57.33%
2019 | 19.44% | 86.95% | 18.95% | 73.9% | 18.4% | 63.9%
2020 | 19.75% | 93.67% | 19.44% | 78.75% | 19.54% | 80.25% | 2020 | 2020 | 2020

## Efficiency Distribution
Module Efficiency Distributions for Systems Installed in 2019
Efficiency | Residential |  |  | Small Non-Residential |  |  | Large Non-Residential
| Poly | Mono | Other | Poly | Mono | Other | Poly | Mono | Other
<14% | 0.2316% | 0.03232% | 0.01328% | 0.1845% | 0.246% | 0.0615% | 0.06671% | 0% | 0.2001%
14% | 0.01683% | 0.006199% | 0.0004428% | 0.1845% | 0.123% | 0% | 0.06671% | 0% | 0%
14.5% | 0.02435% | 0.03365% | 0.001328% | 0.0615% | 0.1845% | 0% | 0.1334% | 0.06671% | 0.06671%
15% | 0.08014% | 0.03232% | 0% | 0.123% | 0.1538% | 0% | 0.06671% | 0% | 0%
15.5% | 0.2626% | 0.2209% | 0% | 0.3998% | 0.09225% | 0.09225% | 0.4003% | 0.1334% | 0.06671%
16% | 0.4379% | 0.321% | 0.0004428% | 0.492% | 0.2768% | 0% | 0.5337% | 0% | 0%
16.5% | 0.3086% | 0.128% | 0.0008856% | 1.845% | 0.492% | 0% | 2.468% | 0.4003% | 0.06671%
17% | 3.418% | 0.3843% | 0.0004428% | 5.32% | 0.6765% | 0% | 7.939% | 0.8005% | 0%
17.5% | 0.8156% | 0.6341% | 0.0008856% | 1.845% | 2.214% | 0% | 3.402% | 2.802% | 0%
18% | 0.4171% | 1.596% | 0% | 8.702% | 4.244% | 0% | 1.468% | 1.935% | 0%
18.5% | 0.05358% | 4.116% | 0.0004428% | 0.6765% | 7.78% | 0% | 1.268% | 7.605% | 0%
19% | 0.1466% | 21.97% | 0% | 0.7995% | 15.77% | 0% | 1.067% | 16.21% | 0%
19.5% | 0.08324% | 27.95% | 0% | 0.3998% | 18.79% | 0% | 0.4003% | 22.82% | 0%
20% | 0.01904% | 14.08% | 0% | 0% | 13.41% | 0.0615% | 0.06671% | 18.81% | 0%
20.5% | 0% | 7.977% | 0% | 0% | 4.859% | 0% | 0% | 2.535% | 0%
21% | 0% | 9.092% | 0% | 0% | 2.522% | 0% | 0% | 1.268% | 0%
21.5% | 0% | 1.893% | 0% | 0% | 1.199% | 0% | 0% | 1.401% | 0%
22% | 0% | 2.867% | 0% | 0% | 5.566% | 0% | 0% | 3.402% | 0%
22.5% | 0% | 0.3334% | 0% | 0% | 0.1538% | 0% | 0% | 0.06671% | 0%

## Storage Trends
Percent of Annual PV Systems Co-Installed with Storage
Segment | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Residential | 0.06839% | 0.1258% | 1.31% | 4.867% | 5.389% | 8.067%
Small Non-Residential | 0.2914% | 0.5061% | 0.7407% | 2.088% | 2.92% | 2.884%
Large Non-Residential | 1.569% | 1.504% | 4.752% | 9.097% | 5.529% | 3.812%
x-axis labels | 2015 |  |  |  |  | 2020

## Storage by State
Storage Attachment Rates
State | Residential | Small Non-Residential | Large Non-Residential
AR | n/a | n/a | n/a
AZ | 3.646% | 1.01% | 4.854%
CA | 8.518% | 1.767% | 3.408%
CO | 1.378% | 1.802% | 0%
CT | 2.227% | n/a | n/a
DC | n/a | n/a | n/a
DE | n/a | n/a | n/a
FL | n/a | n/a | n/a
HI | 79.17% | 38.39% | n/a
IL | 0.6999% | 0.4717% | 0%
MA | 3.94% | 3.125% | 20%
MD | n/a | n/a | n/a
ME | n/a | n/a | n/a
MN | 2.397% | 0% | 0%
NC | n/a | n/a | n/a
NH | n/a | n/a | n/a
NJ | n/a | n/a | n/a
NM | n/a | n/a | n/a
NV | 2.14% | 2.778% | n/a
NY | n/a | n/a | n/a
OH | n/a | n/a | n/a
OR | 3.825% | 4.138% | n/a
PA | n/a | n/a | n/a
RI | 2.267% | 2.326% | 0%
TX | n/a | n/a | n/a
UT | n/a | n/a | n/a
VT | n/a | n/a | n/a
WA | 9.889% | 2.174% | n/a
WI | n/a | n/a | n/a

## MLPE Trends
Penetration of Module-Level Power Electronics over Time
Year | Residential |  |  | Small Non-Residential |  |  | Large Non-Residential
| Microinverter | DC Optimizer | No MLPE | Microinverter | DC Optimizer | No MLPE | Microinverter | DC Optimizer | No MLPE | x-axis labels
2008 | 0.6048% | 0.03456% | 99.36% | 0.6726% | 0% | 99.33% | 0% | 0% | 100% | 2008
2009 | 3.872% | 0.004792% | 96.12% | 2.668% | 0% | 97.33% | 0% | 0% | 100%
2010 | 13.25% | 0.04799% | 86.71% | 4.933% | 0% | 95.07% | 2.809% | 0% | 97.19%
2011 | 21.3% | 0.487% | 78.21% | 9.997% | 0.08668% | 89.92% | 1.853% | 0.08058% | 98.07%
2012 | 24.22% | 1.754% | 74.02% | 15.47% | 0.2368% | 84.29% | 2.345% | 0.07107% | 97.58%
2013 | 31.12% | 4.448% | 64.43% | 20.4% | 1.575% | 78.03% | 3.084% | 0.08811% | 96.83%
2014 | 31.17% | 14.85% | 53.98% | 22.06% | 7.103% | 70.84% | 1.957% | 1.545% | 96.5%
2015 | 26.72% | 25.56% | 47.71% | 23.82% | 20.11% | 56.07% | 1.578% | 4.735% | 93.69%
2016 | 30.08% | 30.49% | 39.42% | 17.78% | 23.07% | 59.15% | 1.891% | 7.033% | 91.08%
2017 | 38.12% | 38.92% | 22.96% | 21.27% | 33.89% | 44.84% | 1.551% | 14.06% | 84.39%
2018 | 34.12% | 49.51% | 16.37% | 18.38% | 44.88% | 36.74% | 0.8753% | 18.6% | 80.53%
2019 | 33.47% | 56.65% | 9.884% | 21.4% | 52.38% | 26.22% | 1.066% | 22.1% | 76.83%
2020 | 45.55% | 48.67% | 5.779% | 18.07% | 52.65% | 29.28% | 1.753% | 24.54% | 73.7% | 2020
Notes: DC Optimizer share consists of only systems with SolarEdge inverters and may therefore slightly understate the actual share of power optimizers in the data sample.

## ILR Trends
Inverter Loading Ratios over Time
Year | Residential |  |  |  |  | Small Non-Residential |  |  |  |  | Large Non-Residential |  |  |  |  | x-axis labels
| Median (all) | Median (microinv.) | 20th percentile | 80th percentile | Percentile Band | Median (all) | Median (microinv.) | 20th percentile | 80th percentile | Percentile Band | Median (all) | Median (microinv.) | 20th percentile | 80th percentile | Percentile Band
2008 | 1.02 | 1 | 0.90667 | 1.1333 | 0.22667 | 1.045 |  | 0.93913 | 1.1424 | 0.20332 | 1.092 |  | 0.97306 | 1.1792 | 0.20617 | 2008
2009 | 1.032 | 1 | 0.92 | 1.1294 | 0.20941 | 1.0426 |  | 0.94286 | 1.1571 | 0.21429 | 1.0774 |  | 0.97104 | 1.1648 | 0.19373
2010 | 1.035 | 1.0952 | 0.93714 | 1.1287 | 0.19161 | 1.0412 | 1.177 | 0.95219 | 1.1467 | 0.19448 | 1.0666 |  | 0.97173 | 1.1605 | 0.18879
2011 | 1.0698 | 1.1628 | 0.9625 | 1.1648 | 0.2023 | 1.0643 | 1.186 | 0.96 | 1.175 | 0.215 | 1.0998 |  | 0.99457 | 1.1818 | 0.18722
2012 | 1.093 | 1.1163 | 1 | 1.152 | 0.152 | 1.08 | 1.1395 | 0.98276 | 1.1716 | 0.18885 | 1.1119 | 1.1291 | 1.0058 | 1.1888 | 0.18295
2013 | 1.1211 | 1.1395 | 1.0164 | 1.176 | 0.1596 | 1.1053 | 1.1628 | 0.99989 | 1.1784 | 0.17853 | 1.1246 | 1.0698 | 1.0231 | 1.2162 | 0.19311
2014 | 1.1395 | 1.1628 | 1.0305 | 1.201 | 0.17056 | 1.1149 | 1.1628 | 1.0041 | 1.1935 | 0.18936 | 1.1726 |  | 1.0643 | 1.2867 | 0.22238
2015 | 1.1573 | 1.186 | 1.039 | 1.2326 | 0.1936 | 1.1342 | 1.1667 | 1.0264 | 1.2093 | 0.18287 | 1.1957 |  | 1.0874 | 1.3064 | 0.21902
2016 | 1.1628 | 1.1875 | 1.0355 | 1.2326 | 0.19706 | 1.1322 | 1.186 | 1 | 1.2316 | 0.23158 | 1.2322 | 1.2 | 1.1165 | 1.3298 | 0.21328
2017 | 1.1554 | 1.1875 | 1.04 | 1.2399 | 0.19986 | 1.1545 | 1.1875 | 1.0277 | 1.2554 | 0.22769 | 1.2391 | 1.2753 | 1.1199 | 1.3342 | 0.21436
2018 | 1.125 | 1.1429 | 1.0219 | 1.2609 | 0.23899 | 1.152 | 1.1875 | 1.024 | 1.273 | 0.24901 | 1.2276 |  | 1.0951 | 1.3507 | 0.25562
2019 | 1.1302 | 1.1552 | 1.0169 | 1.2708 | 0.25397 | 1.154 | 1.1897 | 1.0357 | 1.2776 | 0.24193 | 1.2316 |  | 1.1191 | 1.338 | 0.21887
2020 | 1.1568 | 1.2069 | 1.0381 | 1.3116 | 0.27352 | 1.1562 | 1.2414 | 1.0194 | 1.3062 | 0.28683 | 1.2346 | 1.2292 | 1.1102 | 1.3315 | 0.22128 | 2020

## Mounting Trends
Mounting Configuration over Time
Year | Residential |  | Small Non-Residential |  | Large Non-Residential |  | x-axis labels
| % Ground-Mounted | % Tracking | % Ground-Mounted | % Tracking | % Ground-Mounted | % Tracking
1998
1999
2000 | 4% | 0% |  |  |  |  | 2000
2001 | 0% | 0%
2002 | 0.3058% | 0.6098% | 6.977% | 0%
2003 | 2.353% | 2.61% | 4.545% | 4.167%
2004 | 5.928% | 1.396% | 12.3% | 9.249%
2005 | 5.242% | 0.8253% | 11.81% | 2.844% | 3.333% | 0%
2006 | 3.893% | 1.148% | 15.44% | 1.613% | 9.302% | 0%
2007 | 3.007% | 0.9195% | 12.12% | 1.303% | 2.174% | 2.899%
2008 | 4.333% | 0.7967% | 12.54% | 1.842% | 9.91% | 10.3% |  | Notes: Summary statistics for any given year are shown only if at least 20 observations are available.
2009 | 3.938% | 0.7793% | 10.88% | 2.069% | 30.28% | 15.18%
2010 | 4.61% | 0.7023% | 9.209% | 1.862% | 22.44% | 10.54%
2011 | 3.745% | 0.7344% | 11.18% | 3.246% | 20.68% | 4.693%
2012 | 2.119% | 0.3433% | 8.088% | 1.656% | 23.66% | 8.333%
2013 | 1.752% | 0.2909% | 10.29% | 1.69% | 36.31% | 5.15%
2014 | 1.388% | 0.2217% | 5.587% | 1.173% | 44.44% | 2.275%
2015 | 2.157% | 0.4708% | 8.456% | 0.9915% | 43.48% | 2.589%
2016 | 2.145% | 0.605% | 12.18% | 0.7745% | 45.33% | 6.027%
2017 | 2.63% | 0.6402% | 16.87% | 1.509% | 56.94% | 5.366%
2018 | 2.544% | 0.8755% | 18.26% | 1.609% | 50.47% | 6.678%
2019 | 2.585% | 0.5404% | 17.36% | 1.725% | 46.52% | 5.581%
2020 | 2.279% | 0.5028% | 17.67% | 1.887% | 48.16% | 9.561% | 2020

## Orientation Trends
Panel Orientation over Time
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
North | 0.292% | 0.3625% | 1.25% | 2.063% | 0.461% | 0.356% | 0.2913% | 0.2751% | 0.7573% | 1.477% | 2.596% | 3.817% | 3.816% | 3.694% | 3.965% | 3.965%
East | 8.37% | 8.264% | 6.363% | 6.73% | 7.719% | 9.392% | 12.51% | 14.47% | 18.22% | 19.8% | 22.15% | 19.63% | 17.81% | 17.79% | 17.24% | 17.24%
South | 80.54% | 79.27% | 75.75% | 69.85% | 70.39% | 70.41% | 66.84% | 62.67% | 56.42% | 55.08% | 50.41% | 51.38% | 53.65% | 53.86% | 54.15% | 54.15%
West | 10.41% | 11.89% | 15.64% | 19.22% | 21.18% | 19.72% | 20.24% | 22.47% | 24.4% | 23.35% | 24.47% | 24.48% | 24.23% | 24.1% | 24.09% | 24.09%
Flat | 0.3893% | 0.2175% | 0.9921% | 2.131% | 0.2458% | 0.129% | 0.1228% | 0.117% | 0.2106% | 0.2911% | 0.3733% | 0.6932% | 0.4975% | 0.5581% | 0.5512% | 0.5512%
x-axis | 2005 | [14 empty] | 2020
Notes: Azimuths are grouped according to cardinal compass directions ±45º (e.g., systems within ±45º of due-south are considered south-facing). Figure excludes tracking systems.

## Orientation Distribution
Distribution of Panel Orientation for 2020 Systems
Azimuth | Residential | Small Non-Res. | Large Non-Res. | x-axis label
0 | 0.5653% | 3.406% | 1.456% | Flat
10 | 0.4553% | 0.2293% | 0.3833%
20 | 0.3389% | 0.3275% | 0.2683%
30 | 0.3572% | 0.2948% | 0.5366%
40 | 0.3606% | 0.2293% | 0.1533%
50 | 0.4059% | 0.3275% | 0.7282%
60 | 0.4427% | 0.09826% | 0.5366%
70 | 0.5365% | 0.1802% | 0.4599%
80 | 0.8709% | 0.4586% | 0.23%
90 | 5.073% | 3.652% | 2.146% | 90º
100 | 2.128% | 1.048% | 0.6899%
110 | 1.824% | 1.163% | 0.3833%
120 | 2.054% | 0.9171% | 0.8432%
130 | 2.338% | 1.949% | 1.571% |  | Notes: Lines are plotted in 10-degree increments. Figure excludes tracking systems.
140 | 2.751% | 2.555% | 2.185%
150 | 2.777% | 2.326% | 3.105%
160 | 3.047% | 2.784% | 2.951%
170 | 3.885% | 3.652% | 4.255%
180 | 26.44% | 41.93% | 44.65% | 180º
190 | 5.41% | 3.718% | 4.561%
200 | 3.519% | 3.57% | 3.68%
210 | 3.149% | 2.686% | 4.025%
220 | 3.186% | 3.718% | 3.526%
230 | 3.195% | 3.587% | 4.14%
240 | 2.602% | 1.9% | 2.07%
250 | 2.39% | 1.572% | 1.112%
260 | 2.626% | 1.474% | 0.9966%
270 | 9.959% | 7.272% | 5.596% | 270º
280 | 2.316% | 1.015% | 0.8816%
290 | 1.084% | 0.4422% | 0.1533%
300 | 0.7558% | 0.4258% | 0.1533%
310 | 0.6748% | 0.2948% | 0.2683%
320 | 0.5032% | 0.1638% | 0.23%
330 | 0.3737% | 0.1474% | 0.3066%
340 | 0.3482% | 0.131% | 0.07666%
350 | 0.3625% | 0.2293% | 0.2683%
360 | 0.8952% | 0.131% | 0.4216% | 360º

## TPO Trend
Third-Party Ownership (TPO) Shares over Time
| 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Residential | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 3.73% | 6.348% | 14.58% | 35.77% | 58.7% | 51.34% | 51.73% | 56.88% | 53.76% | 42.77% | 37.91% | 36.86% | 35.32%
Small Non-Residential | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.935% | 5.419% | 7.934% | 16.57% | 23.18% | 23.35% | 15.37% | 21.85% | 29.94% | 14.35% | 12.11% | 13.35% | 17.56%
Large Non-Residential | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 38.3% | 31.91% | 25.84% | 39.37% | 39.52% | 37.13% | 26.32% | 23.62% | 29.41% | 36.38% | 34.23% | 30.81% | 34.3%
x-axis labels |  |  | 2000 | [19 empty] | 2020

## TPO by State
Third-Party Ownership (TPO) Shares by State
State | TPO Share
| Residential | Small Non-Residential | Large Non-Residential
AZ | 28.2% | Intentionally Blank
CA | 35.36%
CO | 24.13%
CT | 74.15%
DC | 52.73%
IL | 35.07%
MA | 58.6%
NJ | 58.42%
NV | 25.83%
NY | 28.58%
OR | 0%
WI | 0%
AZ | Intentionally Blank | 6.4% | Intentionally Blank
CA |  | 18.26%
CO |  | 21.62%
DC |  | 84.88%
IL |  | 8.255%
MA |  | 50.78%
NJ |  | 37.61%
NV |  | 2.778%
NY |  | 1.538%
OR |  | 5.517%
WI |  | 0%
AZ | Intentionally Blank |  | 16%
CA |  |  | 25.5%
CO |  |  | 40.91%
DC |  |  | 82.05%
IL |  |  | 53.93%
MA |  |  | 46.84%
NJ |  |  | 58.92%
NY |  |  | 46.41%
WI |  |  | 0%

## Non-Res Segmentation Trend
Non-Residential Customer Segmentation over Time
Year | Small Non-Residential |  |  |  | Large Non-Residential |  |  |  | x-axis labels
| Commercial | Government | School | Non-Profit | Commercial | Government | School | Non-Profit
1998 | - | - | - | - | - | - | - | -
1999 | - | - | - | - | - | - | - | -
2000 | - | - | - | - | - | - | - | -
2001 | 96.88% | 0% | 3.125% | 0% | - | - | - | -
2002 | 89.17% | 3.185% | 6.369% | 1.274% | 76% | 24% | 0% | 0%
2003 | 90.32% | 4.147% | 4.608% | 0.9217% | 80.77% | 15.38% | 0% | 3.846%
2004 | 80.38% | 4.839% | 11.83% | 2.957% | 97.37% | 2.632% | 0% | 0%
2005 | 75.36% | 4.298% | 14.33% | 6.017% | 82.43% | 9.459% | 6.757% | 1.351%
2006 | 67.65% | 7.598% | 18.38% | 6.373% | 78.1% | 6.667% | 14.29% | 0.9524%
2007 | 79.75% | 6.135% | 7.566% | 6.544% | 86.5% | 6.748% | 5.521% | 1.227%
2008 | 67.88% | 8.527% | 7.863% | 15.73% | 83.98% | 7.122% | 3.858% | 5.045%
2009 | 72.88% | 11.6% | 7.672% | 7.85% | 59.57% | 26.14% | 11.55% | 2.736%
2010 | 72.99% | 13.45% | 7.836% | 5.717% | 69.01% | 14.45% | 13.5% | 3.042% | 2010
2011 | 70.26% | 17.61% | 5.49% | 6.634% | 65.1% | 18.39% | 12.91% | 3.599%
2012 | 73.43% | 12.91% | 4.196% | 9.458% | 59.02% | 27.34% | 8.957% | 4.679%
2013 | 75.65% | 9.445% | 5.819% | 9.087% | 58.17% | 24.39% | 14.06% | 3.387%
2014 | 77.87% | 8.289% | 4.48% | 9.364% | 61.89% | 25.19% | 8.801% | 4.12%
2015 | 75.15% | 5.17% | 2.087% | 17.6% | 75.58% | 12% | 8.03% | 4.387%
2016 | 64.55% | 17.33% | 2.72% | 15.41% | 71.54% | 10.05% | 15.02% | 3.388%
2017 | 78.38% | 6.434% | 4.45% | 10.73% | 72.58% | 7.542% | 17.78% | 2.098%
2018 | 79.94% | 5.754% | 4.479% | 9.829% | 70.32% | 6.1% | 20.18% | 3.402%
2019 | 79.85% | 6.277% | 3.6% | 10.28% | 74.26% | 5.521% | 16.33% | 3.888%
2020 | 76.46% | 11.43% | 2.722% | 9.382% | 71.7% | 8.045% | 15.81% | 4.446% | 2020

## Non-Res Segmentation
Non-Residential Customer Segmentation and TPO Shares
State | Percent of Non-Residential Systems |  |  |  | TPO Percent
| Commercial | Government | Non-Profit | School | Commercial | All Tax-Exempt
All States | 74.98% | 10.37% | 7.841% | 6.806% | 11.86% | 56.7%
CA | 73.97% | 11.97% | 5.544% | 8.519% | 7.058% | 58%
IL | 87.85% | 5.324% | 6.822% | 0% | 14.02% | 76.71%
NJ | 74.94% | 1.985% | 12.66% | 10.42% | 38.08% | 75.25%
MA | 69.6% | 4% | 24.8% | 1.6% | 55.81% | 55.26%
Other States | 66% | 15.89% | 15.23% | 2.87% | 1.345% | 19.83%
Notes: TPO shares shown only if at least 20 observations available.

## Price Trends
Installed Price Trends over Time
Year | Residential |  |  |  | Small Non-Residential |  |  |  | Large Non-Residential |  |  |  | x-axis for figure
| Median | 20th Percentile | 80th Percentile | Percentile Band | Median | 20th Percentile | 80th Percentile | Percentile Band | Median | 20th Percentile | 80th Percentile | Percentile Band | Res. | Small Non-Res. | Large Non-Res.
1998 | - | - | - | - | - | - | - | - | - | - | - | -
1999 | 6.7824 | 5.6387 | 8.6606 | 3.022 | - | - | - | - | - | - | - | -
2000 | 12.3481 | 7.7278 | 14.6157 | 6.8879 | - | - | - | - | - | - | - | - | 2000
2001 | 11.9068 | 10.3238 | 14.9581 | 4.6343 | - | - | - | - | - | - | - | -
2002 | 12.1639 | 10.6024 | 14.4701 | 3.8676 | 11.5155 | 10.4855 | 14.0139 | 3.5284 | - | - | - | - |  | 2002
2003 | 10.9982 | 9.6568 | 12.6428 | 2.986 | 11.2226 | 9.8402 | 13.2199 | 3.3796 | - | - | - | -
2004 | 10.2779 | 8.9823 | 11.549 | 2.5667 | 10.229 | 9.1271 | 11.837 | 2.7099 | 9.4354 | 8.6043 | 10.2309 | 1.6266 |  |  | 2004
2005 | 9.857 | 8.7817 | 10.8293 | 2.0476 | 10.0174 | 8.8931 | 11.1528 | 2.2597 | 8.9664 | 7.8307 | 9.8148 | 1.9842
2006 | 9.9663 | 8.9612 | 10.9835 | 2.0223 | 10.3131 | 8.8654 | 12.8552 | 3.9898 | 8.7086 | 7.8727 | 9.6838 | 1.8111
2007 | 10.0568 | 9.09 | 11.0934 | 2.0035 | 10.0875 | 8.9565 | 11.4505 | 2.494 | 8.4736 | 7.3024 | 9.9707 | 2.6683
2008 | 9.6142 | 8.6773 | 10.6552 | 1.9779 | 9.7114 | 8.6686 | 10.9948 | 2.3262 | 8.635 | 7.3666 | 9.9105 | 2.5439
2009 | 9.2121 | 8.0838 | 10.4301 | 2.3462 | 9.4381 | 8.1052 | 10.8914 | 2.7862 | 8.4082 | 6.5832 | 9.3809 | 2.7977
2010 | 7.8593 | 6.7158 | 9.3928 | 2.677 | 7.7636 | 6.3637 | 9.5136 | 3.1498 | 6.4708 | 5.5898 | 7.848 | 2.2582
2011 | 6.991 | 5.947 | 8.6007 | 2.6537 | 6.6517 | 5.5608 | 8.1762 | 2.6154 | 5.4702 | 4.7184 | 6.7892 | 2.0708
2012 | 5.8683 | 4.8536 | 7.5524 | 2.6987 | 5.7958 | 4.7546 | 7.3144 | 2.5598 | 4.9707 | 3.998 | 6.475 | 2.477
2013 | 5.0622 | 4.1639 | 6.2111 | 2.0472 | 4.653 | 3.7848 | 6.0002 | 2.2154 | 3.8884 | 3.0372 | 5.2629 | 2.2257
2014 | 4.7779 | 3.919 | 5.6603 | 1.7413 | 4.1325 | 3.4202 | 5.3183 | 1.8981 | 3.37 | 2.6594 | 4.52 | 1.8606
2015 | 4.7004 | 3.9043 | 5.5715 | 1.6672 | 4.0386 | 3.3077 | 4.9417 | 1.6339 | 3.0691 | 2.335 | 3.8679 | 1.5328
2016 | 4.4336 | 3.7176 | 5.4744 | 1.7568 | 3.7217 | 3.0483 | 4.639 | 1.5907 | 2.7533 | 2.1836 | 3.8445 | 1.6609
2017 | 4.1911 | 3.3943 | 5.2429 | 1.8486 | 3.3257 | 2.6459 | 4.3325 | 1.6866 | 2.6177 | 2.0483 | 3.5538 | 1.5055
2018 | 3.9329 | 3.2128 | 4.8786 | 1.6658 | 3.1173 | 2.5412 | 4.1105 | 1.5692 | 2.485 | 1.8539 | 3.3547 | 1.5007
2019 | 3.8208 | 3.0846 | 4.579 | 1.4944 | 3.1034 | 2.4487 | 4.269 | 1.8203 | 2.3554 | 1.7825 | 3.1228 | 1.3403
2020 | 3.8182 | 2.9966 | 4.6167 | 1.62 | 2.9212 | 2.2549 | 3.9308 | 1.6759 | 2.1668 | 1.6538 | 2.97 | 1.3162 | 2020 | 2020 | 2020
Notes: Percentile Range represents the band between the 20th and 80th percentile values in each year. Statistics shown only if at least 20 observations available for a given year and customer segment.

## Component Cost Trends
Underlying Trends in Component Costs
Year | Median Installed Price |  |  | Module Price Index |  |  | Inverter Price Index |  |  | Residual BoS+soft costs |  |  | x-axis for figure
| Res. | Small Non-Res. | Large Non-Res. | Res. | Small Non-Res. | Large Non-Res. | Res. | Small Non-Res. | Large Non-Res. | Res. | Small Non-Res. | Large Non-Res. | Res. | Small Non-Res. | Large Non-Res.
1998 |  |  |  | 6.3134 | 6.2042 | 6.0949 | 1.3981 | 1.075 | 0.75197
1999 | 6.7824 |  |  | 5.742 | 5.6426 | 5.5432 | 1.2965 | 0.9969 | 0.6973 | -0.92915
2000 | 12.3481 |  |  | 4.6294 | 4.5493 | 4.4691 | 1.2022 | 0.92443 | 0.64661 | 5.3096 |  |  | 2000
2001 | 11.9068 |  |  | 4.3376 | 4.2626 | 4.1875 | 1.1148 | 0.85722 | 0.59961 | 6.0751
2002 | 12.1639 | 11.5155 |  | 4.4313 | 4.3546 | 4.2779 | 1.0338 | 0.79491 | 0.55602 | 6.7114 | 6.063 |  |  | 2002
2003 | 10.9982 | 11.2226 |  | 4.175 | 4.1027 | 4.0304 | 0.92422 | 0.71065 | 0.49708 | 5.5331 | 5.7576
2004 | 10.2779 | 10.229 | 9.4354 | 4.4503 | 4.3733 | 4.2963 | 0.9037 | 0.69487 | 0.48604 | 5.1787 | 5.1298 | 4.3362 |  |  | 2004
2005 | 9.857 | 10.0174 | 8.9664 | 4.4974 | 4.4196 | 4.3418 | 0.86043 | 0.6616 | 0.46277 | 4.503 | 4.6634 | 3.6124
2006 | 9.9663 | 10.3131 | 8.7086 | 4.8745 | 4.7902 | 4.7058 | 0.88524 | 0.68068 | 0.47611 | 4.6084 | 4.9552 | 3.3507
2007 | 10.0568 | 10.0875 | 8.4736 | 4.8933 | 4.8087 | 4.724 | 0.6321 | 0.48604 | 0.33997 | 4.297 | 4.3277 | 2.7138
2008 | 9.6142 | 9.7114 | 8.635 | 4.3758 | 4.3001 | 4.2243 | 0.6063 | 0.46619 | 0.32609 | 4.0887 | 4.186 | 3.1095
2009 | 9.2121 | 9.4381 | 8.4082 | 2.9456 | 2.8947 | 2.8437 | 0.59176 | 0.45502 | 0.31827 | 4.23 | 4.456 | 3.4261
2010 | 7.8593 | 7.7636 | 6.4708 | 2.0871 | 1.9815 | 1.876 | 0.58086 | 0.44663 | 0.31241 | 4.3219 | 4.2262 | 2.9334
2011 | 6.991 | 6.6517 | 5.4702 | 1.4336 | 1.3611 | 1.2886 | 0.54828 | 0.42158 | 0.29489 | 4.323 | 3.9838 | 2.8022
2012 | 5.8683 | 5.7958 | 4.9707 | 0.94012 | 0.89258 | 0.84504 | 0.51021 | 0.39949 | 0.28877 | 3.8864 | 3.8139 | 2.9888
2013 | 5.0622 | 4.653 | 3.8884 | 0.90423 | 0.8585 | 0.81278 | 0.44088 | 0.34371 | 0.24654 | 3.6118 | 3.2027 | 2.438
2014 | 4.7779 | 4.1325 | 3.37 | 0.86367 | 0.8336 | 0.80354 | 0.39084 | 0.28151 | 0.17219 | 3.4328 | 2.7874 | 2.0249
2015 | 4.7004 | 4.0386 | 3.0691 | 0.7671 | 0.75754 | 0.74799 | 0.30575 | 0.22385 | 0.14195 | 3.4459 | 2.7841 | 1.8146
2016 | 4.4336 | 3.7217 | 2.7533 | 0.57152 | 0.57018 | 0.56883 | 0.25341 | 0.18062 | 0.10783 | 3.3607 | 2.6489 | 1.6805
2017 | 4.1911 | 3.3257 | 2.6177 | 0.48833 | 0.47117 | 0.45402 | 0.22701 | 0.15706 | 0.087108 | 3.3661 | 2.5008 | 1.7928
2018 | 3.9329 | 3.1173 | 2.485 | 0.59264 | 0.50374 | 0.41485 | 0.21644 | 0.14816 | 0.079878 | 3.2176 | 2.4019 | 1.7697
2019 | 3.8208 | 3.1034 | 2.3554 | 0.44796 | 0.4062 | 0.36444 | 0.23537 | 0.15691 | 0.078456 | 3.0118 | 2.2943 | 1.5463
2020 | 3.8182 | 2.9212 | 2.1668 | 0.3875 | 0.38 | 0.3725 | 0.2975 | 0.18375 | 0.07 | 3.1349 | 2.2379 | 1.4835 | 2020 | 2020 | 2020
YoY Change ($/W) | -0.0026011 | -0.18218 | -0.18854 | -0.060459 | -0.0262 | 0.0080587 | 0.062132 | 0.026838 | -0.0084561 | 0.12316 | -0.056426 | -0.062787
YoY Change (%) | -0.06808% | -5.87% | -8.005% | -13.5% | -6.45% | 2.211% | 26.4% | 17.1% | -10.78% | 4.089% | -2.459% | -4.06%
Avg. Annual Change ($/W) | -0.40619 | -0.45233 | -0.42757 | -0.202 | -0.20919 | -0.23081 | -0.043083 | -0.032166 | -0.024473 | -0.10356 | -0.20132 | -0.16781
Avg. Annual Change (%) | -5.436% | -6.965% | -8.29% | -11.14% | -12.05% | -13.4% | -6.434% | -7.419% | -10.77% | -2.478% | -5.11% | -6.114%

## State YoY Trend
Annual Change in Median Installed Price by State
Residential |  |  | Sector | State | Non-Residential
State | 5-Year Average | YoY (2019-2020) |  |  | 5-Year Average | YoY (2019-2020) | 5-Year Average | YoY (2019-2020)
AZ | -0.20176 | -0.0090048 | Small Non-Residential | AZ | -0.38458 | -0.3027
CA | -0.20075 | -0.0051014 |  | CA | -0.21685 | -0.2472
CO | -0.10025 | 0.22975 |  | CO | -0.18865 | -0.55901
CT | -0.15619 | -0.10762 |  | MD | -0.16207 | 0.057636
DE | -0.17515 | -0.31729 |  | MA | -0.094157 | -0.077606
FL | -0.095189 | 0.22363 |  | MN | -0.39767 | -0.12326
MD | -0.21597 | -0.10522 |  | NV | 0.062842 | -0.57677
MA | -0.2634 | -0.12268 |  | NH | -0.31629 | -0.21791
MN | -0.27951 | -0.2471 |  | NJ | -0.15869 | -0.10824
NV | -0.15397 | -0.070015 |  | NY | -0.18346 | -0.033393
NH | -0.23348 | 0.048326 |  | NC | -0.20716 | 0.082928
NJ | -0.10087 | -0.076574 |  | OR | -0.23903 | -0.095936
NM | -0.15757 | 0.41506 |  | RI | -0.21902 | 0.24438
NY | -0.094399 | -0.037456 |  | TX | -0.18901 | -0.53938
NC | -0.060801 | 0.37292 |  | UT | -0.19697 | 0.24833
OR | -0.1422 | -0.22904 |  | WI | -0.26892 | -0.46838
RI | -0.011121 | 0.14293 | Large Non-Residential | AZ |  |  | n/a | -0.32391
TX | 0.022999 | 0.1683 |  | CA |  |  | -0.27773 | -0.18322
UT | -0.13054 | -0.016569 |  | MA |  |  | -0.14101 | -0.0040596
WA | -0.28423 | -0.24067 |  | MN |  |  | n/a | -0.12667
WI | -0.01578 | 0.48039 |  | NJ |  |  | -0.15331 | -0.14549
|  |  |  | NY |  |  | -0.21287 | -0.29997
|  |  |  | NC |  |  | -0.10177 | 0.14419

## TPO Price Trends
Comparison of Installed Prices between TPO and Host-Owned Systems
Segement | Year | TPO | Host-Owned | TPO | Host-Owned | TPO | Host-Owned
Residential | 2010 | 7.8308 | 7.8593
|  | 7.4449 | 6.991
|  | 5.8115 | 5.8683
|  | 5.546 | 5.0622
|  | 5.2355 | 4.7779
|  | 5.1689 | 4.7004
|  | 4.8569 | 4.4336
|  | 4.1419 | 4.1911
|  | 3.9524 | 3.9329
|  | 3.8719 | 3.8208
| 2020 | 3.7793 | 3.8182
Small Non-Residential | 2010 |  |  | 7.3353 | 7.7636
|  |  |  | 6.1729 | 6.6517
|  |  |  | 5.6292 | 5.7958
|  |  |  | 5.4395 | 4.653
|  |  |  | 4.5202 | 4.1325
|  |  |  | 4.2756 | 4.0386
|  |  |  | 3.829 | 3.7217
|  |  |  | 3.3854 | 3.3257
|  |  |  | 3.0861 | 3.1173
|  |  |  | 3.2287 | 3.1034
| 2020 |  |  | 3.8359 | 2.9212
Large Non-Residential | 2010 |  |  |  |  | 6.2351 | 6.4708
[6 empty] | 5.5036 | 5.4702
[6 empty] | 5.1019 | 4.9707
[6 empty] | 4.0873 | 3.8884
[6 empty] | 3.5267 | 3.37
[6 empty] | 3.2801 | 3.0691
[6 empty] | 3.2039 | 2.7533
[6 empty] | 2.2833 | 2.6177
[6 empty] | 2.3194 | 2.485
[6 empty] | 2.0455 | 2.3554
| 2020 |  |  |  |  | 1.7651 | 2.1668

## Price Histogram
Installed Price Distributions for Systems Installed in 2019
Installed Price Bin | Residential | Small Non-Residential | Large Non-Residential
1 | 0.176% | 0.8696% | 4.473%
1.25 | 0.2575% | 1.014% | 8.052%
1.5 | 0.4314% | 2.464% | 13.22%
1.75 | 1.574% | 5.761% | 15.51%
2 | 2.874% | 9.674% | 13.02%
2.25 | 2.823% | 11.41% | 12.82%
2.5 | 4.765% | 11.74% | 7.952%
2.75 | 7.222% | 11.92% | 5.666%
3 | 8.263% | 9.565% | 4.274%
3.25 | 9.158% | 7.536% | 2.286%
3.5 | 9.676% | 5.362% | 2.286%
3.75 | 10.15% | 4.493% | 2.584%
4 | 10.58% | 2.862% | 1.889%
4.25 | 8.61% | 2.899% | 1.093%
4.5 | 6.048% | 1.775% | 0.5964%
4.75 | 3.715% | 1.449% | 0.497%
5 | 3.224% | 1.558% | 0.6958%
5.25 | 2.397% | 1.014% | 0.2982%
5.5 | 1.677% | 1.377% | 0.6958%
5.75 | 1.409% | 0.5797% | 0.497%
6 | 0.9891% | 0.5435% | 0.0994%
6.25 | 0.6543% | 0.5797% | 0%
6.5 | 0.5432% | 0.2899% | 0.0994%
6.75 | 0.5073% | 0.471% | 0.0994%
7 | 0.3879% | 0.2899% | 0.0994%
7.25 | 0.2595% | 0.1087% | 0.0994%
7.5 | 0.2112% | 0.3261% | 0.0994%
7.75 | 0.2029% | 0.1812% | 0%
8 | 0.1629% | 0.1087% | 0%
8.25 | 0.1594% | 0.03623% | 0%
8.5 | 0.1056% | 0.1812% | 0%
8.75 | 0.08421% | 0.1449% | 0%
9 | 0.07662% | 0.07246% | 0.0994%
9.25 | 0.06971% | 0.07246% | 0%
9.5 | 0.06212% | 0.03623% | 0.0994%
9.75 | 0.06005% | 0% | 0%
10 | 0.4355% | 1.232% | 0.7952%
Sample Sizes | n=144,879 | n=2,760 | n=1,006
Median | 3.8182 | 2.9212 | 2.1668
20th Percentile | 2.9966 | 2.2549 | 1.6538
80th Percentile | 4.6167 | 3.9308 | 2.97
Data to Plot Vertical Lines
x-axis |  |  | y-axis | x-axis |  |  | y-axis | x-axis |  |  | y-axis
Residential | Small Non-Res. | Large Non-Res. |  | Residential | Small Non-Res. | Large Non-Res. |  | Residential | Small Non-Res. | Large Non-Res.
0 | 0 | 0 | -10000 | 0 | 0 | 0 | -10000 | 0 | 0 | 0 | -10000
3.8082 | 2.9112 | 2.1568 | -10000 | 2.9866 | 2.2449 | 1.6438 | -10000 | 4.6067 | 3.9208 | 2.96 | -10000
3.8282 | 2.9312 | 2.1768 | 10000 | 3.0066 | 2.2649 | 1.6638 | 10000 | 4.6267 | 3.9408 | 2.98 | 10000
10 | 10 | 10 | 10000 | 10 | 10 | 10 | 10000 | 10 | 10 | 10 | 10000
10 | 10 | 10 | 10000 | 10 | 10 | 10 | 10000 | 10 | 10 | 10 | 10000
Installed Price (2020$/WDC)

## Economies of Scale
Installed Price Differences by System Size
2019 Residential Systems
Residential System Size (kW)
| ≤2 | 2-3 | 3-4 | 4-5 | 5-6 | 6-7 | 7-8 | 8-9 | 9-10 | 10-11 | 11-12 | >12
Number of Systems | 763 | 6114 | 14748 | 19512 | 19970 | 17070 | 16455 | 13638 | 9557 | 7107 | 5821 | 14124
Median $/W | 4.3254 | 4.2321 | 4.2321 | 4.175 | 3.9567 | 3.8688 | 3.7526 | 3.5826 | 3.5953 | 3.505 | 3.4111 | 3.2484
Delta to 20th percentile | 0.72357 | 0.98604 | 0.78688 | 0.88999 | 0.77399 | 0.75084 | 0.75542 | 0.79553 | 0.67856 | 0.64009 | 0.65374 | 0.6399
Delta to 80th percentile | 2.6318 | 0.91941 | 0.80767 | 0.72845 | 0.83267 | 0.79587 | 0.8096 | 0.80207 | 0.77504 | 0.7237 | 0.75454 | 0.73811
2019 Non-Residential Systems
| Small Non-Residential |  |  |  | Large Non-Residential
| ≤10 | 10-20 | 20-50 | 50-100 | 100-250 | 250-500 | 500-1000 | >1000
Number of Systems | Residential System Size (kW) ≤2: 477; Residential System Size (kW) 2-3: 662; Residential System Size (kW) 3-4: 1030; Residential System Size (kW) 4-5: 591; Residential System Size (kW) 5-6: Intentionally Blank
Median $/W | Residential System Size (kW) ≤2: 3.5972; Residential System Size (kW) 2-3: 3.007; Residential System Size (kW) 3-4: 2.799; Residential System Size (kW) 4-5: 2.4717
Delta to 20th percentile | Residential System Size (kW) ≤2: 0.85904; Residential System Size (kW) 2-3: 0.57688; Residential System Size (kW) 3-4: 0.55465; Residential System Size (kW) 4-5: 0.49653
Delta to 80th percentile | Residential System Size (kW) ≤2: 1.6057; Residential System Size (kW) 2-3: 0.83633; Residential System Size (kW) 3-4: 0.89427; Residential System Size (kW) 4-5: 0.82536
Number of Systems | Residential System Size (kW) ≤2: Intentionally Blank; Residential System Size (kW) 5-6: 556; Residential System Size (kW) 6-7: 222; Residential System Size (kW) 7-8: 120; Residential System Size (kW) 8-9: 108
Median $/W | Residential System Size (kW) 5-6: 2.3202; Residential System Size (kW) 6-7: 2.1446; Residential System Size (kW) 7-8: 1.8039; Residential System Size (kW) 8-9: 1.6817
Delta to 20th percentile | Residential System Size (kW) 5-6: 0.47027; Residential System Size (kW) 6-7: 0.49434; Residential System Size (kW) 7-8: 0.33474; Residential System Size (kW) 8-9: 0.34172
Delta to 80th percentile | Residential System Size (kW) 5-6: 0.86002; Residential System Size (kW) 6-7: 0.82574; Residential System Size (kW) 7-8: 0.6952; Residential System Size (kW) 8-9: 0.6159

## State Comparison
Installed Price Differences by State
Residential |  |  |  | Line for U.S. Median |  |  | State | Small Non-Residential |  |  | Large Non-Residential |  |  | Line for U.S. Medians
State | Median $/W | Delta to 20th Percentile | Delta to 80th Percentile |  |  |  |  | Median $/W | Delta to 20th Percentile | Delta to 80th Percentile | Median $/W | Delta to 20th Percentile | Delta to 80th Percentile
DE | 2.9215 | 0.43699 | 1.014 | 1 | 3.8182 | Small Non-Residential | WI | 2.1327 | 0.26383 | 0.7782 | Intentionally Blank |  |  | 0 | 2.9212
WA | 3.0462 | 0.62382 | 1.0801 | 2 | 3.8182 |  | NH | 2.2938 | 0.2276 | 0.44183 |  |  |  | 2 | 2.9212
NH | 3.0746 | 0.46117 | 0.56641 | 3 | 3.8182 |  | TX | 2.4132 | 0.30655 | 0.36142 |  |  |  | 3 | 2.9212
MD | 3.1585 | 0.53832 | 0.7946 | 4 | 3.8182 |  | AZ | 2.4713 | 0.29693 | 0.78423 |  |  |  | 4 | 2.9212
FL | 3.3833 | 0.64686 | 0.6759 | 5 | 3.8182 |  | WA | 2.5157 | 0.55608 | 0.56637 |  |  |  | 5 | 2.9212
MN | 3.4349 | 0.41365 | 0.68931 | 6 | 3.8182 |  | MD | 2.5756 | 0.21059 | 0.33686 |  |  |  | 6 | 2.9212
MA | 3.5082 | 0.50484 | 0.69036 | 7 | 3.8182 |  | CO | 2.6203 | 0.38891 | 0.67054 |  |  |  | 7 | 2.9212
NJ | 3.5427 | 0.72056 | 0.77013 | 8 | 3.8182 |  | NJ | 2.707 | 0.52222 | 1.2214 |  |  |  | 8 | 2.9212
CT | 3.552 | 0.54049 | 0.58388 | 9 | 3.8182 |  | NC | 2.7299 | 0.52952 | 1.2045 |  |  |  | 9 | 2.9212
OR | 3.5664 | 0.64185 | 0.62164 | 10 | 3.8182 |  | OR | 2.7683 | 0.62588 | 0.71857 |  |  |  | 10 | 2.9212
AZ | 3.7632 | 0.87897 | 0.80203 | 11 | 3.8182 |  | MN | 2.9274 | 0.69718 | 0.6046 |  |  |  | 11 | 2.9212
WI | 3.7845 | 0.99759 | 0.78959 | 12 | 3.8182 |  | CA | 3.0113 | 0.70055 | 1.0632 |  |  |  | 12 | 2.9212
TX | 3.8021 | 0.57286 | 0.21091 | 13 | 3.8182 |  | NY | 3.0178 | 0.52471 | 2.0768 |  |  |  | 13 | 2.9212
UT | 3.8058 | 0.89918 | 0.86946 | 14 | 3.8182 |  | UT | 3.2799 | 1.017 | 0.69965 |  |  |  | 14 | 2.9212
CA | 3.8685 | 0.81459 | 0.75815 | 15 | 3.8182 |  | RI | 3.2869 | 0.43383 | 0.62428 |  |  |  | 15 | 2.9212
NV | 3.8804 | 1.8414 | 0.89637 | 16 | 3.8182 |  | MA | 3.4184 | 0.51415 | 0.75829 |  |  |  | 16 | 2.9212
NY | 3.8865 | 0.82459 | 1.2734 | 17 | 3.8182 |  | NV | 3.7857 | 1.3511 | 1.0492 |  |  |  | 16.4 | 2.9212
NM | 4.1361 | 0.60879 | 0.77614 | 18 | 3.8182 | Large Non-Residential | WI |  |  |  | 1.7388 | 0.26947 | 0.41758 | 16.5 |  | 2.1668
RI | 4.2022 | 0.98979 | 1.069 | 19 | 3.8182 |  | MN |  |  |  | 1.7664 | 0.37692 | 0.45002 | 18 |  | 2.1668
CO | 4.2229 | 1.0215 | 0.53921 | 20 | 3.8182 |  | NC |  |  |  | 1.8153 | 0.47242 | 0.6991 | 19 |  | 2.1668
NC | 4.6325 | 1.5271 | 1.1388 | 21 | 3.8182 |  | NJ |  |  |  | 1.9394 | 0.27384 | 0.44971 | 20 |  | 2.1668
[7 empty] | AZ |  |  |  | 2.0873 | 0.73845 | 0.5665 | 21 |  | 2.1668
[7 empty] | NY |  |  |  | 2.1561 | 0.56824 | 0.67242 | 22 |  | 2.1668
[7 empty] | OR |  |  |  | 2.2349 | 0.43557 | 0.40706 | 23 |  | 2.1668
[7 empty] | CA |  |  |  | 2.2991 | 0.59782 | 0.97553 | 24 |  | 2.1668
[7 empty] | MA |  |  |  | 2.4019 | 0.67919 | 0.38194 | 25 |  | 2.1668

## Installer Pricing
Installed Price Differences by Installer
Median Installed Price | 20th Percentile | 80th Percentile | Percentile Band | x-axis label
1.9982 | 1.7577 | 2.4255 | 0.66781 | 1
2.0387 | 1.9662 | 4.4825 | 2.5163
2.3693 | 2.3507 | 2.3866 | 0.035865
2.5571 | 2.0527 | 4.7324 | 2.6797
2.7574 | 2.585 | 2.8748 | 0.28973
2.8089 | 2.6181 | 3.1847 | 0.56656
2.9363 | 2.5507 | 3.3691 | 0.81841
2.9371 | 2.6242 | 3.3994 | 0.77516
2.9487 | 2.5177 | 3.7441 | 1.2265
2.9561 | 2.6809 | 3.2974 | 0.61646
2.9875 | 2.6801 | 3.3884 | 0.70827
3.168 | 2.7634 | 3.9977 | 1.2343
3.2248 | 2.7445 | 3.7917 | 1.0472
3.24 | 2.9254 | 3.6844 | 0.75897
3.2416 | 2.3037 | 3.7857 | 1.482
3.2734 | 2.8548 | 4.0121 | 1.1573
3.2819 | 2.9945 | 3.6242 | 0.62967
3.2884 | 2.8548 | 4.417 | 1.5622
3.3073 | 2.4061 | 3.8154 | 1.4093
3.3606 | 3.0015 | 3.7675 | 0.76595
3.3752 | 3.0524 | 3.9174 | 0.86497
3.3941 | 2.7759 | 4.542 | 1.7661
3.4208 | 3.0768 | 3.75 | 0.6732
3.4332 | 3.0502 | 4.6958 | 1.6456
3.4986 | 3.1083 | 3.944 | 0.83567
3.5018 | 3.3436 | 3.7543 | 0.4107
3.5126 | 3.0544 | 4.319 | 1.2646
3.5226 | 3.1801 | 4.2331 | 1.053
3.5326 | 3.2101 | 3.9921 | 0.78198
3.5831 | 3.318 | 3.9321 | 0.61406
3.6068 | 3.3483 | 3.9798 | 0.63151
3.648 | 3.373 | 4.1693 | 0.79626
3.721 | 3.3736 | 4.2026 | 0.82898
3.734 | 3.2288 | 4.3365 | 1.1077
3.7353 | 3.2912 | 4.6158 | 1.3245
3.7421 | 3.3517 | 4.3838 | 1.032
3.7545 | 3.406 | 4.2039 | 0.79785
3.7566 | 3.4687 | 4.1195 | 0.65087
3.7765 | 3.1468 | 4.6934 | 1.5465
3.78 | 3.0245 | 4.8274 | 1.8029
3.7813 | 3.0965 | 4.1923 | 1.0958
3.7946 | 3.5378 | 4.1546 | 0.61677
3.8209 | 2.813 | 4.954 | 2.141
3.8581 | 3.4665 | 4.2665 | 0.79997
3.8625 | 3.3011 | 4.5967 | 1.2956
3.8764 | 3.564 | 4.2229 | 0.6589
3.9121 | 3.5515 | 4.2767 | 0.72512
3.9177 | 3.6274 | 4.4203 | 0.79293
3.9296 | 2.9882 | 4.373 | 1.3849
3.9565 | 3.6938 | 4.6665 | 0.9727
3.9607 | 3.596 | 4.2113 | 0.61535
3.996 | 3.543 | 4.6632 | 1.1203
3.9965 | 3.774 | 4.3139 | 0.5399
4.0271 | 3.5014 | 4.5068 | 1.0054
4.042 | 3.7159 | 4.7103 | 0.99439
4.056 | 3.6333 | 4.9953 | 1.362
4.0919 | 3.582 | 5.0637 | 1.4817
4.0963 | 3.3581 | 4.698 | 1.3399
4.1012 | 3.8172 | 4.5903 | 0.77306
4.1164 | 3.3683 | 5.0998 | 1.7315
4.1897 | 4.0128 | 4.4616 | 0.44879
4.2023 | 3.7308 | 4.6536 | 0.92281
4.224 | 3.8648 | 4.7065 | 0.84174
4.2522 | 4.2229 | 4.4808 | 0.25797
4.2557 | 3.691 | 4.8663 | 1.1753
4.2595 | 3.7566 | 4.6768 | 0.92015
4.2694 | 3.2259 | 4.9514 | 1.7256
4.3998 | 3.7508 | 5.2641 | 1.5132
4.4247 | 4.1314 | 4.8642 | 0.73282
4.4324 | 3.7196 | 5.026 | 1.3064
4.4344 | 3.808 | 5.188 | 1.3799
4.4837 | 4.1354 | 5.4671 | 1.3317
4.4855 | 3.9281 | 5.4803 | 1.5522
4.4924 | 3.8544 | 5.1252 | 1.2708
4.5085 | 3.8258 | 5.0574 | 1.2317
4.5183 | 3.6269 | 6.7417 | 3.1148
4.5451 | 3.1875 | 5.635 | 2.4475
4.5618 | 4.0456 | 5.1438 | 1.0983
4.5721 | 4.3263 | 4.6124 | 0.28611
4.7447 | 3.5918 | 5.6244 | 2.0326
4.7466 | 4.0294 | 5.6582 | 1.6289
4.7738 | 3.4089 | 5.469 | 2.06
4.7752 | 3.9149 | 5.5302 | 1.6153
4.7938 | 4.207 | 7.0666 | 2.8596
4.8235 | 3.7917 | 5.4922 | 1.7005
4.8535 | 3.9473 | 5.4352 | 1.4879
4.8566 | 4.103 | 5.7446 | 1.6417
4.9116 | 4.1364 | 5.5422 | 1.4057
5.0026 | 4.4737 | 5.1562 | 0.68243
5.0135 | 4.1341 | 5.5894 | 1.4553
5.0473 | 4.2126 | 5.8784 | 1.6658
5.1001 | 4.0247 | 7.7042 | 3.6796
5.5292 | 5.292 | 5.9002 | 0.60819
5.6732 | 4.8168 | 6.4125 | 1.5956
5.8253 | 5.0007 | 6.7006 | 1.6999
5.9512 | 5.0869 | 6.4943 | 1.4074
6.1498 | 5.8904 | 6.2405 | 0.35016
6.1581 | 4.9703 | 7.0921 | 2.1217
7.0234 | 4.2357 | 7.7191 | 3.4834
7.0746 | 6.1117 | 8.3858 | 2.274 | 100

## Pricing by Non-Res Segment
|  | Small Non-Residential | [5 empty] | Large Non-Residential
|  | Median |  | Low Error Band |  | High Error Band |  | Median |  | Low Error Band |  | High Error Band
|  | Tax-Exempt | Commercial | Tax-Exempt | Commercial | Tax-Exempt | Commercial | Tax-Exempt | Commercial | Tax-Exempt | Commercial | Tax-Exempt | Commercial
Small Non-Residential | All States | 3.1502 | 2.9813 | 0.78656 | 0.67353 | 1.1093 | 1.0107
| CA-Only | 3.2501 | 2.9889 | 0.82812 | 0.69093 | 1.1959 | 1.0217
| Other States | 2.9964 | 2.8517 | 0.78517 | 0.50555 | 1.1488 | 1.0411
Large Non-Residential | All States | [6 empty] | 3.1548 | 2.1432 | 1.0388 | 0.49753 | 1.027 | 0.6973
| CA-Only | [6 empty] | 3.4025 | 2.173 | 0.90527 | 0.52165 | 1.1907 | 0.73419
| Other States | [6 empty] | 2.0268 | 1.9776 | 0.29845 | 0.36301 | 0.84459 | 0.55419

## Pricing by Efficiency
Installed Price Differences by Module Efficiency
Efficiency | Median | Low | High | Median | Low | High | Median | Low | High
16-17% | 3.6158 | 0.82087 | 0.90794 | Intentionally Blank
17-18% | 4.079 | 0.70357 | 0.93526
18-19% | 3.9387 | 0.95996 | 1.2832
19-20% | 3.7694 | 0.91014 | 0.97025
20-21% | 3.6353 | 0.64082 | 0.77665
>21% | 4.0983 | 0.76857 | 0.37446
16-17% | Intentionally Blank |  |  | 2.8876 | 0.84543 | 0.98578 | Intentionally Blank
17-18% |  |  |  | 2.9442 | 0.78322 | 1.043
18-19% |  |  |  | 2.7604 | 0.68698 | 1.0314
19-20% |  |  |  | 2.8516 | 0.60284 | 0.93807
20-21% |  |  |  | 3.0305 | 0.60202 | 1.0526
>21% |  |  |  | 3.486 | 0.87822 | 1.3913
16-17% | Intentionally Blank | [5 empty] | 2.0248 | 0.45179 | 0.58451
17-18% | [6 empty] | 2.3034 | 0.6713 | 0.90883
18-19% | [6 empty] | 1.8658 | 0.38791 | 0.59653
19-20% | [6 empty] | 2.0939 | 0.42871 | 0.64519
20-21% | [6 empty] | 2.4877 | 0.69556 | 1.3336
>21% | [6 empty] | 2.8494 | 0.4457 | 1.3153

## Pricing by Inverter Type
Installed Price Differences by Inverter Type
| Median |  |  | Low Error Band |  |  | High Error Band
| Microinverter | DC Optimizer | No MLPE | Microinverter | DC Optimizer | No MLPE | Microinverter | DC Optimizer | No MLPE
Residential | 3.868 | 3.802 | 3.5689 | 0.76612 | 0.86552 | 0.85607 | 0.62699 | 0.97948 | 1.1739
Small Non-Residential | 3.1132 | 2.9771 | 2.8736 | 0.60148 | 0.6262 | 0.7606 | 0.9885 | 1.005 | 1.1291
Large Non-Residential | 2.7978 | 2.3439 | 2.1346 | 0.83203 | 0.44742 | 0.53445 | 0.56482 | 0.98529 | 0.83397